## output
| Code | Unnamed: 1 | Unnamed: 2 | Unnamed: 3 | Unnamed: 4 | Previous Code | Description | Spec | Unnamed: 8 | Code (MM_Type) | Type Description | System (MM_System) | Discipline (MM_Discipline) | Scheduled Asset | Scheduled in AMR | Active in Model | Type Code In Model (LOI 1) | Asset Tag in Model (LOI 1 and 2) | LOI Category | Asset Tag on drawings | Type Code Status | Comments | blank | Master Asset List | Parent/Child | Ellipse Equipment Class | SBS Number | SBS Name | Asset Maintainer | Asset Operator | Uniclass Section | Uniclass SectionDescription | Uniclass Object Code | Uniclass Object Description
0 | AMW | [5 empty] | ARCHITECTURAL METALWORK | [8 empty] | No | [5 empty] | Heading only
1 | AMW-100 | [5 empty] | FEATURE LIGHT HOUSING / BRACKETRY | [8 empty] | No | [5 empty] | Heading only
2 | AMW-101 |  |  |  |  | AMW-101 / AMW-102 | Drum Light | 552 |  | AMW-101 | Drum Light | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
3 | AMW-110 |  |  |  |  | AMW-110 | Pendant Light - Type 01 - CBD Trinoc Pendant | 552 |  | AMW-110 | Pendant Light - Type 01 - CBD Trinoc Pendant | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
4 | AMW-111 |  |  |  |  | FFE-901 | Arden Street Lamp - Floor Mounted (light fittings only, not lamp post) - Emu Light | 552 |  | AMW-111 | Arden Street Lamp - Floor Mounted (light fittings only, not lamp post) - Emu Light | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | No | Yes | Yes |  | Yes | ACTIVE | Identified by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
5 | AMW-160 | [5 empty] | BMU/ Lighting/ Services Bracket - Entrance Canopy Parkville | 552 | Parkville Entrance Canopy | AMW-160 | BMU/ Lighting/ Services Bracket - Entrance Canopy Parkville | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
6 | AMW-500 | [5 empty] | SIGNAGE BRACKETRY & SURROUND | [8 empty] | No | [5 empty] | Heading only
7 | AMW-510 |  |  |  |  | AMW-510 | Signage Bracket Tabbed from CMS Zone (Box Stations) | 552 | Box Stations | AMW-510 | Signage Bracket Tabbed from CMS Zone (Box Stations) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
8 | AMW-510A |  |  |  |  | AMW-510 | Signage Bracket Tabbed from CMS Zone (CBD Stations) | 552 | CBD Stations | AMW-510A | Signage Bracket Tabbed from CMS Zone (CBD Stations) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
9 | AMW-511 | [5 empty] | Suspended Signage Bracket - Single | 552 |  | AMW-511 | Suspended Signage Bracket - Single | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
10 | AMW-511A | [5 empty] | Suspended Signage Bracket - Double | 552 |  | AMW-511A | Suspended Signage Bracket - Double | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
11 | AMW-511B | [5 empty] | Suspended Signage - Large Directional Sign | 552 |  | AMW-511B | Suspended Signage - Large Directional Sign | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
12 | AMW-511C | [5 empty] | Suspended Signage - Double Rib Canoe (CBD Stations) | 552 |  | AMW-511C | Suspended Signage - Double Rib Canoe (CBD Stations) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
13 | AMW-512 | [5 empty] | Suspended Advertising (CBD Station) | 552 |  | AMW-512 | Suspended Advertising (CBD Station) | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | No | Yes | Yes |  | Yes | ACTIVE | Identified by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
14 | AMW-515 | [5 empty] | Floor Mounted Signage Portal integrating RSA Devices | 552 |  | AMW-515 | Floor Mounted Signage Portal integrating RSA Devices | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | No | Yes | Yes |  | Yes | ACTIVE | Identified by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
15 | AMW-600 | [5 empty] | MEP BRACKETRY/ HOUSING | [8 empty] | No | [5 empty] | Heading only
16 | AMW-670 | [5 empty] | Services Transfer Housing | 552 | Parkville Entrance Canopy | AMW-670 | Services Transfer Housing | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
17 | AMW-900 | [5 empty] | MISCELANEOUS METALWORK | [8 empty] | No | [5 empty] | Heading only
18 | AMW-930 | [5 empty] | Canopy Rainwater Gutter, Hopper and Downpipe Assembly | 416 |  | AMW-930 | Canopy Rainwater Gutter, Hopper and Downpipe Assembly | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
19 | AMW-931 | [5 empty] | Canopy Rainwater and Overflow Pipework - Stainless Steel | 416 |  | AMW-931 | Canopy Rainwater and Overflow Pipework - Stainless Steel | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
20 | AMW-936 | [5 empty] | Canopy Rainwater and Overflow Pipework - Stainless Steel | 416 |  | AMW-936 | Canopy Rainwater and Overflow Pipework - Stainless Steel | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
21 | AMW-1000 | [5 empty] | OUTLINE BRACKETS FOR LIGHTS IN BOX STATIONS | [8 empty] | No | [5 empty] | Heading only
22 | AMW-1001 | [5 empty] | Escalator In-Between Handrail Lighting Secondary Portals and Adits - (subject to mock-up) | 552 |  | AMW-1001 | Escalator In-Between Handrail Lighting Secondary Portals and Adits - (subject to mock-up) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
23 | AMW-1002 | [5 empty] | Single Dropper Light Bracket – Soffit Mounted - For Cannister Light Fitting located in Shark's Teeth Ceiling CLG-106 | 552 |  | AMW-1002 | Single Dropper Light Bracket – Soffit Mounted - For Cannister Light Fitting located in Shark's Teeth Ceiling CLG-106 | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
24 | AMW-1002A | [5 empty] | Single Dropper Light Bracket – Mounted from Secondary Steel Frame - For Cannister Light Fitting located in Shark's Teeth Ceiling CLG-106 | 552 |  | AMW-1002A | Single Dropper Light Bracket – Mounted from Secondary Steel Frame - For Cannister Light Fitting located in Shark's Teeth Ceiling CLG-106 | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
25 | AMW-1004 |  |  |  |  | AMW-120 | 'Dog Bone' Light Bracket – Mounted from Baffles - For Cannister Light Fitting located in Rib & Baffle Ceiling CLG-101 | 552 |  | AMW-1004 | 'Dog Bone' Light Bracket – Mounted from Baffles - For Cannister Light Fitting located in Rib & Baffle Ceiling CLG-101 | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
26 | AMW-1005 |  |  |  |  | AMW-865 | Cockatoo (ARD rotary suspended) - Down Light Fitting and Up Light Projector Soffit Bracket - for light fittings in the ARDEN Concourse Skylight | 552 |  | AMW-1005 | Cockatoo (ARD rotary suspended) - Down Light Fitting and Up Light Projector Soffit Bracket - for light fittings in the ARDEN Concourse Skylight | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
27 | AMW-1005A | [5 empty] | Cockatoo (PKV wall mounted) - Down Light Fitting and Up Light Projector Wall Bracket - for light fittings in the PARKVILLE Concourse Skylight | 552 |  | AMW-1005A | Cockatoo (PKV wall mounted) - Down Light Fitting and Up Light Projector Wall Bracket - for light fittings in the PARKVILLE Concourse Skylight | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
28 | AMW-1005B | [5 empty] | Cockatoo (PKV suspended) - Down Light Fitting and Up Light Projector Ceiling Bracket - for light fittings in the PARKVILLE Concourse Skylight | 552 |  | AMW-1005B | Cockatoo (PKV suspended) - Down Light Fitting and Up Light Projector Ceiling Bracket - for light fittings in the PARKVILLE Concourse Skylight | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
29 | AMW-1005C | [5 empty] | Cockatoo (ARD arches) - Down Light Fitting and Up Light Projector Wall Bracket - for light fittings in the ARDEN Arches Ground Floor Entrance | 552 |  | AMW-1005C | Cockatoo (ARD arches) - Down Light Fitting and Up Light Projector Wall Bracket - for light fittings in the ARDEN Arches Ground Floor Entrance | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
30 | AMW-1005D | [5 empty] | Cockatoo (DOM concourse) - Down Light Fitting Bracket - for light fittings in the DOMAIN Concourse | 552 |  | AMW-1005D | Cockatoo (DOM concourse) - Down Light Fitting Bracket - for light fittings in the DOMAIN Concourse | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
31 | AMW-1007 | [5 empty] | Projector Lighting Bracket - Entrance Canopy PKV | 552 |  | AMW-1007 | Projector Lighting Bracket - Entrance Canopy PKV | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | RETIRED | Type No longer in ARC TRS 10/10/2022 |  |  | Parent |  | 1.4.1.1 | Station
32 | AMW-1008 |  |  |  |  | AMW-867 | Cockatoo (DOM screen) - Down and Up Light Bracket - for light fittings in the DOMAIN Entrance Canopy Weather Screen | 552 |  | AMW-1008 | Cockatoo (DOM screen) - Down and Up Light Bracket - for light fittings in the DOMAIN Entrance Canopy Weather Screen | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
33 | AMW-1009 |  |  |  |  | AMW-870 | Recessed LED Linear Lighting Bracket in Dado Rails - (Platforms CBD Station & ARD) | 552 |  | AMW-1009 | Recessed LED Linear Lighting Bracket in Dado Rails - (Platforms CBD Station & ARD) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
34 | AMW-1011 | [5 empty] | Light Bracket - Recessed Pattress/ Oculus (DOM) | 552 |  | AMW-1011 | Light Bracket - Recessed Pattress/ Oculus (DOM) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
35 | AMW-1012 | [5 empty] | Recessed Pattress - Speaker (DOM) | 552 |  | AMW-1012 | Recessed Pattress - Speaker (DOM) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
36 | AMW-1100 | [5 empty] | OUTLINE BRACKETS FOR RSA EOL DEVICES IN BOX STATIONS | [8 empty] | No | [5 empty] | Heading only
37 | AMW-1101 | [5 empty] | Wobbegong Bracket - Suspended - Four Terminals | 552 |  | AMW-1101 | Wobbegong Bracket - Suspended - Four Terminals | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
38 | AMW-1101A | [5 empty] | Wobbegong Bracket - Suspended - Three Terminals | 552 |  | AMW-1101A | Wobbegong Bracket - Suspended - Three Terminals | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
39 | AMW-1101B | [5 empty] | Wobbegong Bracket - Suspended - Two Port | 552 |  | AMW-1101B | Wobbegong Bracket - Suspended - Two Port | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
40 | AMW-1101C | [5 empty] | Wobbegong Bracket - Suspended - Two Port Offset | 552 |  | AMW-1101C | Wobbegong Bracket - Suspended - Two Port Offset | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
41 | AMW-1101D | [5 empty] | Wobbegong Bracket - Suspended - One Terminal | 552 |  | AMW-1101D | Wobbegong Bracket - Suspended - One Terminal | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
42 | AMW-1101E | [5 empty] | Wobbegong Bracket - Suspended - One Terminal Offset | 552 |  | AMW-1101E | Wobbegong Bracket - Suspended - One Terminal Offset | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
43 | AMW-1101F | [5 empty] | Wobbegong Bracket - Suspended from PSD wall - One Terminal Offset | 552 |  | AMW-1101F | Wobbegong Bracket - Suspended from PSD wall - One Terminal Offset | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
44 | AMW-1102 |  |  |  |  | AMW-641 | Wobbegong - Horizontal Recessed (DOM PRECAST SOFFITS) | 552 |  | AMW-1102 | Wobbegong - Horizontal Recessed (DOM PRECAST SOFFITS) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
45 | AMW-1102A |  |  |  |  | AMW-641 | Wobbegong - Horizontal Recessed (METAL CEILINGS) | 552 |  | AMW-1102A | Wobbegong - Horizontal Recessed (METAL CEILINGS) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
46 | AMW-1103 | [5 empty] | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals (PKV) | 552 |  | AMW-1103 | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals (PKV) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
47 | AMW-1103A | [5 empty] | Wobbegong - VERTICAL Recessed in Walls - Three Terminals (PKV) | 552 |  | AMW-1103A | Wobbegong - VERTICAL Recessed in Walls - Three Terminals (PKV) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
48 | AMW-1104 | [5 empty] | Wobbegong Above Bench - Floor Mounted (ARD) | 552 |  | AMW-1104 | Wobbegong Above Bench - Floor Mounted (ARD) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
49 | AMW-1106 |  |  |  |  | AMW-885 | DAS Omni Antenna - Ceiling Mounted - Suspended Cross - 2 DAS | 552 |  | AMW-1106 | DAS Omni Antenna - Ceiling Mounted - Suspended Cross - 2 DAS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
50 | AMW-1106A |  |  |  |  | AMW-885 | DAS Omni Antenna - Ceiling Mounted - Suspended Cross - 3 DAS | 552 |  | AMW-1106A | DAS Omni Antenna - Ceiling Mounted - Suspended Cross - 3 DAS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
51 | AMW-1107 | [5 empty] | DAS Omni Antenna - Wall Mounted - Double DAS | 552 |  | AMW-1107 | DAS Omni Antenna - Wall Mounted - Double DAS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
52 | AMW-1107A | [5 empty] | DAS Omni Antenna - Ceiling Mounted - Double DAS Pendant | 552 |  | AMW-1107A | DAS Omni Antenna - Ceiling Mounted - Double DAS Pendant | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
53 | AMW-1107B | [5 empty] | DAS Omni Antenna - Ceiling Mounted - Single DAS Pendant | 552 |  | AMW-1107B | DAS Omni Antenna - Ceiling Mounted - Single DAS Pendant | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
54 | AMW-1107C | [5 empty] | DAS Omni Antenna - Mounted onto Signage Portal AMW-515 - Single Das | 552 |  | AMW-1107C | DAS Omni Antenna - Mounted onto Signage Portal AMW-515 - Single Das | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
55 | AMW-1109 |  |  |  |  | AMW-883 | PID Bracket - Ceiling Mounted PID | 552 |  | AMW-1109 | PID Bracket - Ceiling Mounted PID | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
56 | AMW-1111 | [5 empty] | PID Bracket - PES Mounted PID | 552 |  | AMW-1111 | PID Bracket - PES Mounted PID | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | RETIRED | Type No longer in ARC TRS 10/10/2022 |  |  | Child |  | 1.4.1.1 | Station
57 | AMW-1112 | [5 empty] | Antenna - Ceiling Mounted - Dropper | 552 |  | AMW-1112 | Antenna - Ceiling Mounted - Dropper | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
58 | AMW-1112A | [5 empty] | Antenna - PES Mounted - Dropper | 552 |  | AMW-1112A | Antenna - PES Mounted - Dropper | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
59 | AMW-1122 | [5 empty] | Single Dropper EOL Device Bracket – Soffit Mounted - For EOL Devices located in Shark's Teeth Ceiling CLG-106 | 552 |  | AMW-1122 | Single Dropper EOL Device Bracket – Soffit Mounted - For EOL Devices located in Shark's Teeth Ceiling CLG-106 | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
60 | AMW-1122A | [5 empty] | Single Dropper EOL Device Bracket – Mounted from Secondary Steel Frame - For EOL Devices located in Shark's Teeth Ceiling CLG-106 | 552 |  | AMW-1122A | Single Dropper EOL Device Bracket – Mounted from Secondary Steel Frame - For EOL Devices located in Shark's Teeth Ceiling CLG-106 | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
61 | AMW-1124 | [5 empty] | 'Dog Bone' EOL Device Bracket – Mounted from Baffles - For EOL Devices located in Rib & Baffle Ceiling CLG-101 | 552 |  | AMW-1124 | 'Dog Bone' EOL Device Bracket – Mounted from Baffles - For EOL Devices located in Rib & Baffle Ceiling CLG-101 | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
62 | AMW-1200 | [5 empty] | OUTLINE BRACKETS FOR LIGHTS AND RSA EOL DEVICES IN CBD STATIONS | [8 empty] | No | [5 empty] | Heading only
63 | AMW-1201 | [5 empty] | Light Bracket and Rib Base Support - Housing Spot Lights and Up Light - Water Strider - (CBD Platform Level) | 552 |  | AMW-1201 | Light Bracket and Rib Base Support - Housing Spot Lights and Up Light - Water Strider - (CBD Platform Level) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
64 | AMW-1202 | [5 empty] | Signage - Water Strider | 552 |  | AMW-1202 | Signage - Water Strider | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | No | Yes | Yes |  | Yes | ACTIVE | Identified by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
65 | AMW-1204 | [5 empty] | CBD Trinoc Escalator Nook Light Bracket - Housing Spot Lights | 552 |  | AMW-1204 | CBD Trinoc Escalator Nook Light Bracket - Housing Spot Lights | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
66 | AMW-1205 | [5 empty] | CBD Trinoc Platform Light Bracket | 552 |  | AMW-1205 | CBD Trinoc Platform Light Bracket | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
67 | AMW-1206 |  |  |  |  | AMW-883 | CBD Trinoc Camera Dropper from CMS | 552 |  | AMW-1206 | CBD Trinoc Camera Dropper from CMS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
68 | AMW-1210 | [5 empty] | Light and RSA Bracket - CBD Double Rib - Canoe | 552 |  | AMW-1210 | Light and RSA Bracket - CBD Double Rib - Canoe | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
69 | AMW-1220 | [5 empty] | Painted Steelwork to Crypt Ceiling 'Lattice' | 552 |  | AMW-1220 | Painted Steelwork to Crypt Ceiling 'Lattice' | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
70 | ASE | [5 empty] | ACCESS AND SAFETY EQUIPMENT SYSTEMS | [8 empty] | No | [5 empty] | Heading only
71 | ASE-100 | [5 empty] | FALL PREVENTION SYSTEMS | [8 empty] | No | [5 empty] | Heading only
72 | ASE-151 |  |  |  |  | ASE-120 | Static Line | 458 |  | ASE-151 | Static Line | ASE - ACCESS AND SAFETY EQUIPMENT SYSTEMS | Architectural Design | Yes |  | No | Yes | Yes |  | Yes | ACTIVE | Identified by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
73 | ASE-300 | [5 empty] | ACCESS LADDER SYSTEMS | [8 empty] | No | [5 empty] | Heading only
74 | ASE-351 | [5 empty] | Fixed Angled Access Ladder - Step Type | 552 |  | ASE-351 | Fixed Angled Access Ladder - Step Type | ASE - ACCESS AND SAFETY EQUIPMENT SYSTEMS | Architectural Design | Yes |  | No | Yes | Yes |  | Yes | ACTIVE | Identified by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
75 | ASE-500 | [5 empty] | OPERABLE ACCESS GANTRY SYSTEMS | [8 empty] | No | [5 empty] | Heading only
76 | ASE-501 | [5 empty] | Operable Stainless Steel Maintenance Gantry | 552 |  | ASE-501 | Operable Stainless Steel Maintenance Gantry | ASE - ACCESS AND SAFETY EQUIPMENT SYSTEMS | Architectural Design | Yes |  | No | Yes | Yes |  | Yes | ACTIVE | Identified by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
77 | BVC | [5 empty] | BIRD & VERMIN CONTROL | 481 | [7 empty] | No | [5 empty] | Heading only
78 | BVC-100 | [5 empty] | PHYSICAL BARRIERS, ELECTRONIC DETERRENTS | 481 | [7 empty] | No | [5 empty] | Heading only
79 | BVC-151 | [5 empty] | Piano Wire Barrier | 481 |  | BVC-151 | Piano Wire Barrier | BVC - BIRD & VERMIN CONTROL | Architectural Design | Yes |  | No | Yes | Yes |  | Yes | ACTIVE | Identified by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
80 | CLG | [5 empty] | SUSPENDED CEILING SYSTEMS | [8 empty] | No | [5 empty] | Heading only
81 | CLG-100 | [5 empty] | LOOSE FIT CEILING SYSTEMS | [8 empty] | No | [5 empty] | Heading only
82 | CLG-101 |  |  |  |  | CLG-101 | Loose Fit Ceiling System - Types A and B - Box Stations - Ribs and Baffles | 531 |  | CLG-101 | Loose Fit Ceiling System - Types A and B - Box Stations - Ribs and Baffles | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
83 | CLG-102 |  |  |  |  | CLG-102 | Loose Fit Ceiling System - Types C and D - Ribs and Baffles (CBD Stations) | 531 |  | CLG-102 | Loose Fit Ceiling System - Types C and D - Ribs and Baffles (CBD Stations) | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
84 | CLG-105 | [5 empty] | Suspended Wishbone Bracketry - Type 1 - Flying Fox (ARD) | 531 |  | CLG-105 | Suspended Wishbone Bracketry - Type 1 - Flying Fox (ARD) | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
85 | CLG-105A | [5 empty] | Suspended Wishbone Bracketry - Type 2 - Flying Fox (PKV) | 531 |  | CLG-105A | Suspended Wishbone Bracketry - Type 2 - Flying Fox (PKV) | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
86 | CLG-105B | [5 empty] | Suspended Wishbone Bracketry - Type 3 - Flying Fox (DOM) | 531 |  | CLG-105B | Suspended Wishbone Bracketry - Type 3 - Flying Fox (DOM) | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
87 | CLG-106A | [5 empty] | Loose Fit Ceiling System - Type 1 - 350mm Baffles - Sharks Teeth | 531 |  | CLG-106A | Loose Fit Ceiling System - Type 1 - 350mm Baffles - Sharks Teeth | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
88 | CLG-106B | [5 empty] | Loose Fit Ceiling System - Type 2 - 500mm Baffles - Sharks Teeth | 531 |  | CLG-106B | Loose Fit Ceiling System - Type 2 - 500mm Baffles - Sharks Teeth | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
89 | CLG-106C | [5 empty] | Loose Fit Ceiling System - Type 3 - 650mm Baffles - Sharks Teeth | 531 |  | CLG-106C | Loose Fit Ceiling System - Type 3 - 650mm Baffles - Sharks Teeth | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
90 | CLG-106D | [5 empty] | Sharks Teeth - Restricted Ceiling Zones | 531 |  | CLG-106D | Sharks Teeth - Restricted Ceiling Zones | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
91 | CLG-106E | [5 empty] | Sharks Teeth - Integrating Advertisement Panel | 531 |  | CLG-106E | Sharks Teeth - Integrating Advertisement Panel | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
92 | CLG-107 | [5 empty] | Acoustic Lining to Soffit (Generally Located above Shark's Teeth) | 531 |  | CLG-107 | Acoustic Lining to Soffit (Generally Located above Shark's Teeth) | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
93 | CLG-200 | [5 empty] | METAL CEILING SYSTEMS | [8 empty] | No | [5 empty] | Heading only
94 | CLG-280 | [5 empty] | Suspended Services Tray - Entrance Canopy Parkville | 531 | Parkville Canopy | CLG-280 | Suspended Services Tray - Entrance Canopy Parkville | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
95 | CLG-281 | [5 empty] | Folded Acoustic Metal Ceiling with Integrated Services to Crypt | 531 |  | CLG-281 | Folded Acoustic Metal Ceiling with Integrated Services to Crypt | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
96 | EWS | [5 empty] | EXTERNAL WALL SYSTEMS | [8 empty] | No | [5 empty] | Heading only
97 | EWS-100 | [5 empty] | GLAZED WALL SYSTEM | [8 empty] | No | [5 empty] | Heading only
98 | EWS-115 | [5 empty] | Rain Screen Curtain Wall System | 432 |  | EWS-115 | Rain Screen Curtain Wall System | EWS - EXTERNAL WALL SYSTEMS | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
99 | EWS-140 |  |  |  |  | EWS-110 | Rain Screen Curtain Wall System with Sloped Upstand and Hanging Rail Over Void Edge | 432 |  | EWS-140 | Rain Screen Curtain Wall System with Sloped Upstand and Hanging Rail Over Void Edge | EWS - EXTERNAL WALL SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | RETIRED | Type No longer in ARC TRS 10/10/2022 |  |  | Child |  | 1.4.1.1 | Station
100 | EWS-500 | [5 empty] | LOUVRES - EXTERNAL | [8 empty] | No | [5 empty] | Heading only
101 | EWS-511 | [5 empty] | External Fixed Louvre - Type 02 | 451 |  | EWS-511 | External Fixed Louvre - Type 02 | EWS - EXTERNAL WALL SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | RETIRED | Type No longer in ARC TRS 10/10/2022 |  |  | Child |  | 1.4.1.1 | Station
102 | EWS-700 | [5 empty] | MISCELANEOUS CLADDING SYSTEMS | [8 empty] | No | [5 empty] | Heading only
103 | EWS-730 | [5 empty] | Vertical End Glazing to Main Entry Canopy | 451 | Parkville | EWS-730 | Vertical End Glazing to Main Entry Canopy | EWS - EXTERNAL WALL SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
104 | FFE | [5 empty] | FIXTURES / FITTINGS / EQUIPMENT | [8 empty] | No | [5 empty] | Heading only
105 | FLA | [5 empty] | FLASHINGS & COPINGS | [8 empty] | No | [5 empty] | Heading only
106 | FLA-300 | [5 empty] | DRIPS | [8 empty] | No | [5 empty] | Heading only
107 | FLA-301 | [5 empty] | Drip | 431 |  | FLA-301 | Drip | FLA - FLASHINGS & COPINGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
108 | GRL | [5 empty] | GRILLE - WALL | [8 empty] | No | [5 empty] | Heading only
109 | GRL-100 | [5 empty] | GRILLE - WALL - METAL | [8 empty] | No | [5 empty] | Heading only
110 | GRL-140 |  |  |  |  | GRL-124 | Integrated Ventilation Louvre - Removable - Aluminium (Box Stations) | 451 |  | GRL-140 | Integrated Ventilation Louvre - Removable - Aluminium (Box Stations) | GRL - GRILLE - WALL | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
111 | GRL-150 | [5 empty] | Ventilation Louvre - Flangeless Flat Bar | 451 |  | GRL-150 | Ventilation Louvre - Flangeless Flat Bar | GRL - GRILLE - WALL | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
112 | GRL-151 | [5 empty] | Circular Air Grille for Air Intakes located within First Material Panels (INL-220) | 451 |  | GRL-151 | Circular Air Grille for Air Intakes located within First Material Panels (INL-220) | GRL - GRILLE - WALL | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
113 | GRL-152 | [5 empty] | Ventilation Louvre - Flangeless Flat Bar - Concourse Door Reveal | 451 |  | GRL-152 | Ventilation Louvre - Flangeless Flat Bar - Concourse Door Reveal | GRL - GRILLE - WALL | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
114 | GRL-160 |  |  |  |  | GRL-120 | Ventilation Louvre - Aluminium | 451 | Parkville Entrance Canopy | GRL-160 | Ventilation Louvre - Aluminium | GRL - GRILLE - WALL | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
115 | GRL-300 | [5 empty] | GRILLE - METAL | [8 empty] | No | [5 empty] | Heading only
116 | GRL-351 | [5 empty] | Trafficable Floor Grating with Bird Mesh - FOH | 552 | CBDS canopy | GRL-351 | Trafficable Floor Grating with Bird Mesh - FOH | GRL - GRILLE - WALL | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
117 | INL | [5 empty] | INTERNAL LININGS | [8 empty] | No | [5 empty] | Heading only
118 | INL-200 | [5 empty] | BACK PAINTED GLASS LINING | [8 empty] | No | [5 empty] | Heading only
119 | INL-220 | [5 empty] | Flat Aluminum Close Jointed Panel System - 1st Material | 522 |  | INL-220 | Flat Aluminum Close Jointed Panel System - 1st Material | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
120 | INL-220A | [5 empty] | Perforated Flat Aluminum Close Jointed Panel System - 1st Material | 522 |  | INL-220A | Perforated Flat Aluminum Close Jointed Panel System - 1st Material | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
121 | INL-221 | [5 empty] | Dado Rail Assembly above the CMS Zone | 522 | Concourse & Adit | INL-221 | Dado Rail Assembly above the CMS Zone | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
122 | INL-221A | [5 empty] | Dado Rail Assembly (CBD Platform PSD Side: Bottom of INL-346 Wall) | 522 | CBD Platform PSD Wall | INL-221A | Dado Rail Assembly (CBD Platform PSD Side: Bottom of INL-346 Wall) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
123 | INL-222 | [5 empty] | Extruded Aluminium CMS Panel with Intermittent Access Doors | 522 |  | INL-222 | Extruded Aluminium CMS Panel with Intermittent Access Doors | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
124 | INL-224 |  |  |  |  | AMW-662 | CMS Assembly with Access Panels (CBD Platform Side) | 522 |  | INL-224 | CMS Assembly with Access Panels (CBD Platform Side) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
125 | INL-224A |  |  |  |  | AMW-662 | CMS Assembly with Access Panels (CBD Central Trinoc) | 522 |  | INL-224A | CMS Assembly with Access Panels (CBD Central Trinoc) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
126 | INL-225 |  |  |  |  | AMW-662 | CMS Assembly with Access Panels and Surface Mounted Acoustic Baffles - 3 Baffles (CBD Central Trinoc) | 522 |  | INL-225 | CMS Assembly with Access Panels and Surface Mounted Acoustic Baffles - 3 Baffles (CBD Central Trinoc) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
127 | INL-225A |  |  |  |  | AMW-662 | CMS Assembly with Access Panels and Surface Mounted Acoustic Baffles - 2 Baffles (CBD Central Trinoc) | 522 |  | INL-225A | CMS Assembly with Access Panels and Surface Mounted Acoustic Baffles - 2 Baffles (CBD Central Trinoc) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
128 | INL-228 | [5 empty] | Cornice - CBD Platform PSD (Top of INL-346 Wall) | 522 | CBD platform PSD wall | INL-228 | Cornice - CBD Platform PSD (Top of INL-346 Wall) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
129 | INL-229 |  |  |  |  | AMW-995 | Evaporative Drip Tray (CBS Trinoc) | 522 |  | INL-229 | Evaporative Drip Tray (CBS Trinoc) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
130 | INL-300 | [5 empty] | METAL LINING | [8 empty] | No | [5 empty] | Heading only
131 | INL-302 |  |  |  |  | INL-302 | Lozenges, Frame and Micro Louver Acoustic Panel Infill System (PKV) | 522 |  | INL-302 | Lozenges, Frame and Micro Louver Acoustic Panel Infill System (PKV) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
132 | INL-346 |  |  |  |  | INL-340 | Perforated Ribbed Acoustic Metal Lining Panel with Articulated Joints (CBD Platform) | 522 |  | INL-346 | Perforated Ribbed Acoustic Metal Lining Panel with Articulated Joints (CBD Platform) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
133 | INL-900 | [5 empty] | MISCELANEOUS LINING | [8 empty] | No | [5 empty] | Heading only
134 | INL-930 |  |  |  |  | MEP-550 | Over Cladding to Jet Diffuser (ARD, PKV) | 522 |  | INL-930 | Over Cladding to Jet Diffuser (ARD, PKV) | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
135 | MEP | [5 empty] | MEP | [8 empty] | No | [5 empty] | Heading only
136 | MEP-700 | [5 empty] | FIRE PROTECTION | [8 empty] | No | [5 empty] | Heading only
137 | MEP-720 | [5 empty] | Sprinkler Installation (STR-370) | Project Engineer's Specification |  | MEP-720 | Sprinkler Installation (STR-370) | MEP - MEP | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified by Karlo 15/02/2022 |  |  | Parent |  | 1.1.8.2.2 | Fire Protection
138 | MEP-800 | [5 empty] | HYDRAULIC | [8 empty] | No | [5 empty] | Heading only
139 | MEP-821 | [5 empty] | Stainless Steel Rain Water Pipe | 416 |  | MEP-821 | Stainless Steel Rain Water Pipe | MEP - MEP | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
140 | MEP-880 | [5 empty] | Inclined Box Gutter | 416 | Parkville Entrance Canopy | MEP-880 | Inclined Box Gutter | MEP - MEP | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
141 | PNT | [5 empty] | PAINT / CLEAR FINISHES | [8 empty] | No | [5 empty] | Heading only
142 | PNT-100 | [5 empty] | STRUCTURAL SEALANT | [8 empty] | No | [5 empty] | Heading only
143 | PNT-151 | [5 empty] | Dust Proof Sealer to Off-form/ In Situ Concrete Elements (CBDS - Crypt) | 671 | CBDS - Crypt | PNT-151 | Dust Proof Sealer to Off-form/ In Situ Concrete Elements (CBDS - Crypt) | PNT - PAINT / CLEAR FINISHES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
144 | PNT-152 | [5 empty] | Dust Proof Sealer to Precast Concrete Elements (CBDS - Crypt) | 671 | CBDS - Crypt | PNT-152 | Dust Proof Sealer to Precast Concrete Elements (CBDS - Crypt) | PNT - PAINT / CLEAR FINISHES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
145 | PNT-200 | [5 empty] | STRUCTURAL STEEL - PROTECTIVE COATINGS | [8 empty] | No | [5 empty] | Heading only
146 | PNT-251 | [5 empty] | Steel Protective Paint - Visible Steelwork | 345 |  | PNT-251 | Steel Protective Paint - Visible Steelwork | PNT - PAINT / CLEAR FINISHES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
147 | PNT-252 | [5 empty] | Steel Protective Paint - Visible Steelwork Fire Protection 2 Hour FRL | 345 |  | PNT-252 | Steel Protective Paint - Visible Steelwork Fire Protection 2 Hour FRL | PNT - PAINT / CLEAR FINISHES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
148 | PNT-253 | [5 empty] | Steel Protective Paint - Visible Steelwork Fire Protection 3 Hour FRL | 345 |  | PNT-253 | Steel Protective Paint - Visible Steelwork Fire Protection 3 Hour FRL | PNT - PAINT / CLEAR FINISHES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
149 | PNT-254 | [5 empty] | Steel Protective Paint - Visible Steelwork Fire Protection 4 Hour FRL | 345 |  | PNT-254 | Steel Protective Paint - Visible Steelwork Fire Protection 4 Hour FRL | PNT - PAINT / CLEAR FINISHES | Architectural Design | No |  | No | Yes | No |  | No | RETIRED | Type No longer in ARC TRS 10/10/2022 |  |  | Child |  | 1.4.1.1 | Station
150 | RFL | [5 empty] | ROOFLIGHTS | [8 empty] | No | [5 empty] | Heading only
151 | RFL-200 | [5 empty] | PARKVILLE ROOFLIGHTS | [8 empty] | No | [5 empty] | Heading only
152 | RFL-201 | [5 empty] | Curved Entrance Rooflight | 451 |  | RFL-201 | Curved Entrance Rooflight | RFL - ROOFLIGHTS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
153 | RFS | [5 empty] | ROOF SYSTEMS | [8 empty] | No | [5 empty] | Heading only
154 | RFS-100 | [5 empty] | GLAZED ROOF SYSTEMS | [8 empty] | No | [5 empty] | Heading only
155 | RFS-110 | [5 empty] | Curved Glass Roof | 451 | CBDS | RFS-110 | Curved Glass Roof | RFS - ROOF SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
156 | STR | [5 empty] | STRUCTURE | [8 empty] | No | [5 empty] | Heading only
157 | STR-100 | [5 empty] | COLUMN | [8 empty] | No | [5 empty] | Heading only
158 | STR-120 | [5 empty] | Steel Column | Project Engineer's Specification |  | STR-120 | Steel Column | STR - STRUCTURE | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
159 | STR-180 | [5 empty] | Mild Steel Portal Frame (Main Canopy) | 552 | DOM | STR-180 | Mild Steel Portal Frame (Main Canopy) | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
160 | STR-181 | [5 empty] | Perimeter CHS and Associated Capping and Flashing (Main Canopy) | 552 | DOM | STR-181 | Perimeter CHS and Associated Capping and Flashing (Main Canopy) | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
161 | STR-182 | [5 empty] | Rooflight Assembly with Support Structure (Main Canopy) | 451 | DOM | STR-182 | Rooflight Assembly with Support Structure (Main Canopy) | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
162 | STR-200 | [5 empty] | WALLS | [8 empty] | No | [5 empty] | Heading only
163 | STR-201 | [5 empty] | Concrete Wall | Project Engineer's Specification | EPZ/ WPZ - internal/ external - various areas | STR-201 | Concrete Wall | STR - STRUCTURE | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
164 | STR-300 | [5 empty] | FLOORS | [8 empty] | No | [5 empty] | Heading only
165 | STR-370 | [5 empty] | CLT Frame Panels and Roofing System | 380 | DOM | STR-370 | CLT Frame Panels and Roofing System | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
166 | STR-400 | [5 empty] | BEAMS | [8 empty] | No | [5 empty] | Heading only
167 | STR-410 | [5 empty] | Precast Concrete Beam | Project Engineer's Specification |  | STR-410 | Precast Concrete Beam | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
168 | STR-420 | [5 empty] | Steel Beam | Project Engineer's Specification |  | STR-420 | Steel Beam | STR - STRUCTURE | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
169 | STR-421 | [5 empty] | Steel Plates | Project Engineer's Specification |  | STR-421 | Steel Plates | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
170 | STR-423 | [5 empty] | Steel Node | Project Engineer's Specification |  | STR-423 | Steel Node | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
171 | STR-470 | [5 empty] | Glulam Rafter and Diagrid Beams | 380 | DOM | STR-470 | Glulam Rafter and Diagrid Beams | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | RETIRED | Type No longer in ARC TRS 10/10/2022 |  |  | Parent |  | 1.4.1.1 | Station
172 | STR-500 | [5 empty] | UPSTANDS | [8 empty] | No | [5 empty] | Heading only
173 | STR-510 | [5 empty] | Concrete Column Plinth Upstand | 315 | DOM | STR-510 | Concrete Column Plinth Upstand | STR - STRUCTURE | Architectural Design | No |  | Yes | Yes | No |  | No | RETIRED | Type No longer in ARC TRS 10/10/2022 |  |  | Child |  | 1.4.1.1 | Station
174 | STR-511 | [5 empty] | Concrete Column Plinth (CBDS - Crypt) | 315 | CBDS Crypt | STR-511 | Concrete Column Plinth (CBDS - Crypt) | STR - STRUCTURE | Architectural Design | No |  | Yes | Yes | No |  | No | RETIRED | Type No longer in ARC TRS 10/10/2022 |  |  | Child |  | 1.4.1.1 | Station
175 | STR-600 | [5 empty] | FEATURES | [8 empty] | No | [5 empty] | Heading only
176 | STR-610 | [5 empty] | Roof Light Supporting Structure | Project Engineer's Specification | Parkville | STR-610 | Roof Light Supporting Structure | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
177 | STR-621 | [5 empty] | Stainless Steel Cable Brace | Project Engineer's Specification |  | STR-621 | Stainless Steel Cable Brace | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
178 | STR-622 | [5 empty] | Roofing Sump System above CLT Frame Panels and Stainless Steel Soffit Cladding | 416 | DOM | STR-622 | Roofing Sump System above CLT Frame Panels and Stainless Steel Soffit Cladding | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Parent |  | 1.4.1.1 | Station
179 | STR-631 | [5 empty] | Precast Column Segment (CBDS - Crypt) | 315 | CBDS Crypt | STR-631 | Precast Column Segment (CBDS - Crypt) | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
180 | TRM | [5 empty] | TRIMS / ARCHITRAVES | [8 empty] | No | [5 empty] | Heading only
181 | TRM-100 | [5 empty] | TRIMS | [8 empty] | No | [5 empty] | Heading only
182 | TRM-101 | [5 empty] | Metal Inlay onto Concrete Plinth Upstand (STR-510) | 556 |  | TRM-101 | Metal Inlay onto Concrete Plinth Upstand (STR-510) | TRM - TRIMS / ARCHITRAVES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
183 | TRM-130 | [5 empty] | Metal Trim for Separation between Wall Systems - Same Plane Condition - Closer Fin | 556 |  | TRM-130 | Metal Trim for Separation between Wall Systems - Same Plane Condition - Closer Fin | TRM - TRIMS / ARCHITRAVES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
184 | TRM-130A | [5 empty] | Metal Trim for Separation between Wall Systems - Obtuse Outer Junction - Profile | 556 |  | TRM-130A | Metal Trim for Separation between Wall Systems - Obtuse Outer Junction - Profile | TRM - TRIMS / ARCHITRAVES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
185 | TRM-130B | [5 empty] | Metal Trim for Separation between Wall Systems - Perpendicular Internal Junction - Profile | 556 |  | TRM-130B | Metal Trim for Separation between Wall Systems - Perpendicular Internal Junction - Profile | TRM - TRIMS / ARCHITRAVES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
186 | TRM-130C | [5 empty] | Metal Trim for Separation between Wall Systems - Perpendicular Outer Junction - Panel | 556 |  | TRM-130C | Metal Trim for Separation between Wall Systems - Perpendicular Outer Junction - Panel | TRM - TRIMS / ARCHITRAVES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
187 | TRM-130D | [5 empty] | Metal Trim for Separation between Wall Systems - Perpendicular Outer Junction - Angle Profile | 556 |  | TRM-130D | Metal Trim for Separation between Wall Systems - Perpendicular Outer Junction - Angle Profile | TRM - TRIMS / ARCHITRAVES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
188 | TRM-130E | [5 empty] | Metal Trim for Separation between Wall Systems - Perpendicular Outer Junction - Bird's Mouth Profile | 556 |  | TRM-130E | Metal Trim for Separation between Wall Systems - Perpendicular Outer Junction - Bird's Mouth Profile | TRM - TRIMS / ARCHITRAVES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
189 | TRM-131 | [5 empty] | Metal Wall Trim | 556 |  | TRM-131 | Metal Wall Trim | TRM - TRIMS / ARCHITRAVES | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | Identified as not required by Karlo 15/02/2022 |  |  | Child |  | 1.4.1.1 | Station
190 | AMW-511B1 | [5 empty] | Suspended Signage - Large Directional Sign - Type 2 - For signs 1050mm wide |  |  | AMW-511B1 | Suspended Signage - Large Directional Sign - Type 2 - For signs 1050mm wide | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
191 | AMW-511D | [5 empty] | Suspended Signage - PES Mounted |  |  | AMW-511D | Suspended Signage - PES Mounted | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
192 | AMW-1005A1 | [5 empty] | Cockatoo (PKV wall mounted - sub-type 1) Down Light Fitting Wall Bracket |  |  | AMW-1005A1 | Cockatoo (PKV wall mounted - sub-type 1) Down Light Fitting Wall Bracket | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
193 | AMW-1005A2 | [5 empty] | Cockatoo (PKV wall mounted - sub-type 2) Down Light Fitting and Up Light Projector Wall Bracket |  |  | AMW-1005A2 | Cockatoo (PKV wall mounted - sub-type 2) Down Light Fitting and Up Light Projector Wall Bracket | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
194 | AMW-1005A3 | [5 empty] | Cockatoo (PKV wall mounted - sub-type 3) Down Light Fitting Wall Bracket |  |  | AMW-1005A3 | Cockatoo (PKV wall mounted - sub-type 3) Down Light Fitting Wall Bracket | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
195 | AMW-1005B1 | [5 empty] | Cockatoo (PKV suspended - sub-type 1) Down Light Fitting Ceiling Bracket |  |  | AMW-1005B1 | Cockatoo (PKV suspended - sub-type 1) Down Light Fitting Ceiling Bracket | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | No | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
196 | AMW-1103B | [5 empty] | Wobbegong - VERTICAL Recessed in Walls - One Terminal (PKV) |  |  | AMW-1103B | Wobbegong - VERTICAL Recessed in Walls - One Terminal (PKV) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
197 | AMW-1106B | [5 empty] | DAS Omni Antenna - Ceiling Mounted - Suspended Cross - 2 DAS - Arms at 180 |  |  | AMW-1106B | DAS Omni Antenna - Ceiling Mounted - Suspended Cross - 2 DAS - Arms at 180 | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
198 | AMW-1107D | [5 empty] | DAS Omni Antenna - Mounted onto Signage Portal AMW-515 - Double DAS |  |  | AMW-1107D | DAS Omni Antenna - Mounted onto Signage Portal AMW-515 - Double DAS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
199 | AMW-1113 | [5 empty] | Exit Sign - PES Mounted |  |  | AMW-1113 | Exit Sign - PES Mounted | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
200 | AMW-1113A | [5 empty] | Exit Sign - Ceiling Mounted - Single Sign |  |  | AMW-1113A | Exit Sign - Ceiling Mounted - Single Sign | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
201 | AMW-1113B | [5 empty] | Exit Sign - Ceiling Mounted - Double Sign |  |  | AMW-1113B | Exit Sign - Ceiling Mounted - Double Sign | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
202 | AMW-1113C | [5 empty] | Exit Sign - Ceiling Mounted - Single Sign Central Dropper |  |  | AMW-1113C | Exit Sign - Ceiling Mounted - Single Sign Central Dropper | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
203 | AMW-1113D | [5 empty] | Exit Sign - CMS Mounted - Sign perpendicular to Fa硤e |  |  | AMW-1113D | Exit Sign - CMS Mounted - Sign perpendicular to Fa硤e | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
204 | AMW-1113E | [5 empty] | Exit Sign - CMS Mounted - Sign paralell to Fa硤e |  |  | AMW-1113E | Exit Sign - CMS Mounted - Sign paralell to Fa硤e | AMW - ARCHITECTURAL METALWORK | Architectural Design | Yes |  | Yes | Yes | Yes |  | Yes | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
205 | AMW-1125 | [5 empty] | CCTV Camera - Floor Mounted - Pole |  |  | AMW-1125 | CCTV Camera - Floor Mounted - Pole | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
206 | AMW-1202A | [5 empty] | CBD Trinoc PID Bracket |  |  | AMW-1202A | CBD Trinoc PID Bracket | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
207 | AMW-1207 | [5 empty] | CBD Trinoc VAD Dropper from CMS |  |  | AMW-1207 | CBD Trinoc VAD Dropper from CMS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
208 | AMW-1212 | [5 empty] | CBDS Camera Bracket - Column mounted - Crypt - Fairy Wren |  |  | AMW-1212 | CBDS Camera Bracket - Column mounted - Crypt - Fairy Wren | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
209 | AMW-1212A | [5 empty] | CBDS Camera Bracket - Column mounted - City Square Canopy - Fairy Wren |  |  | AMW-1212A | CBDS Camera Bracket - Column mounted - City Square Canopy - Fairy Wren | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
210 | AMW-1213 | [5 empty] | Canister Light Bracket - Ceiling Mounted - Crypt |  |  | AMW-1213 | Canister Light Bracket - Ceiling Mounted - Crypt | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
211 | AMW-1214 | [5 empty] | Canister Light Bracket - Mounted from Structural Branch Cone - City Square Canopy |  |  | AMW-1214 | Canister Light Bracket - Mounted from Structural Branch Cone - City Square Canopy | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
212 | EWS-515 | [5 empty] | External Fixed Louvre |  |  | EWS-515 | External Fixed Louvre | EWS - EXTERNAL WALL SYSTEMS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
213 | INL-221B | [5 empty] | Dado Rail Assembly with integrated light fitting. |  |  | INL-221B | Dado Rail Assembly with integrated light fitting. | INL - INTERNAL LININGS | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
214 | STR-475 | [5 empty] | Glulam Rafter and Diagrid Beams |  |  | STR-475 | Glulam Rafter and Diagrid Beams | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
215 | STR-515 | [5 empty] | Concrete Column Plinth Upstand |  |  | STR-515 | Concrete Column Plinth Upstand | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
216 | STR-520 | [5 empty] | Concrete Column (CBDS - Crypt) |  |  | STR-520 | Concrete Column (CBDS - Crypt) | STR - STRUCTURE | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 12/10/2022 - Karlo to review - Reviewed on 6/12/2022 |  |  |  |  | 1.4.1.1 | Station
217 | INL-220b | [5 empty] | Flat Aluminum Close Jointed Panel System - CBDS City Square |  |  | INL-220b | Flat Aluminum Close Jointed Panel System - CBDS City Square | INL - INTERNAL LININGS | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
218 | CLG-282 | [5 empty] | Metal Soffit Panel |  |  | CLG-282 | Metal Soffit Panel | CLG - SUSPENDED CEILING SYSTEMS | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
219 | AMW-511B1 | [5 empty] | Suspended Signage - Large Directional Sign - Type 2 - For signs 1050mm wide |  |  | AMW-511B1 | Suspended Signage - Large Directional Sign - Type 2 - For signs 1050mm wide | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
220 | AMW-511D | [5 empty] | Suspended Signage - PES Mounted (Box Stations) |  |  | AMW-511D | Suspended Signage - PES Mounted (Box Stations) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
221 | AMW-511E | [5 empty] | ACCESSIBLE BOARDING POINT IDENTIFICATION SGN-130 - PES Mounted (CBD Stations) |  |  | AMW-511E | ACCESSIBLE BOARDING POINT IDENTIFICATION SGN-130 - PES Mounted (CBD Stations) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
222 | AMW-1101B1 | [5 empty] | Wobbegong Bracket - Suspended - Two Port - CBD Central CMS |  |  | AMW-1101B1 | Wobbegong Bracket - Suspended - Two Port - CBD Central CMS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
223 | AMW-1101D1 | [5 empty] | Wobbegong Bracket - Suspended - One Terminal- CBD Platform CMS |  |  | AMW-1101D1 | Wobbegong Bracket - Suspended - One Terminal- CBD Platform CMS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
224 | AMW-1101E1 | [5 empty] | Wobbegong Bracket - Suspended - One Terminal Offset - CBD Platform CMS |  |  | AMW-1101E1 | Wobbegong Bracket - Suspended - One Terminal Offset - CBD Platform CMS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
225 | AMW-1101F1 | [5 empty] | Wobbegong Bracket - Suspended from PSD - One Terminal Offset (HMCT) - CBD Platform |  |  | AMW-1101F1 | Wobbegong Bracket - Suspended from PSD - One Terminal Offset (HMCT) - CBD Platform | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
226 | AMW-1101G | [5 empty] | Wobbegong Bracket - Suspended from PSD - One Terminal - CBD Platform similar to type D with no collar |  |  | AMW-1101G | Wobbegong Bracket - Suspended from PSD - One Terminal - CBD Platform similar to type D with no collar | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
227 | AMW-1101H | [5 empty] | Wobbegong Bracket - Wall Mounted - One Terminal (CBD) |  |  | AMW-1101H | Wobbegong Bracket - Wall Mounted - One Terminal (CBD) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
228 | AMW-1103_301 | [5 empty] | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals _ Interfacing with INL-301 (PKV) |  |  | AMW-1103_301 | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals _ Interfacing with INL-301 (PKV) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
229 | AMW-1103_301.D | [5 empty] | Wobbegong - VERTICAL Recessed in WALLS - DAS _ Interfacing with INL-301 (PKV) |  |  | AMW-1103_301.D | Wobbegong - VERTICAL Recessed in WALLS - DAS _ Interfacing with INL-301 (PKV) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
230 | AMW-1103_220 | [5 empty] | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals _ Interfacing with INL-220 (PKV) |  |  | AMW-1103_220 | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals _ Interfacing with INL-220 (PKV) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
231 | AMW-1103_220.D | [5 empty] | Wobbegong - VERTICAL Recessed in WALLS - DAS _ Interfacing with INL-220 (PKV) |  |  | AMW-1103_220.D | Wobbegong - VERTICAL Recessed in WALLS - DAS _ Interfacing with INL-220 (PKV) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
232 | AMW-1103_201 | [5 empty] | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals _ Interfacing with INL-201 (PKV) |  |  | AMW-1103_201 | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals _ Interfacing with INL-201 (PKV) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
233 | AMW-1103_201.D | [5 empty] | Wobbegong - VERTICAL Recessed in WALLS - DAS _ Interfacing with INL-201 (PKV) |  |  | AMW-1103_201.D | Wobbegong - VERTICAL Recessed in WALLS - DAS _ Interfacing with INL-201 (PKV) | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
234 | AMW-1107E | [5 empty] | DAS Directional - Mounted onto Trinoc CMS - Single Das |  |  | AMW-1107E | DAS Directional - Mounted onto Trinoc CMS - Single Das | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
235 | AMW-1107F | [5 empty] | DAS Directional - Wall Mounted - Double Das - Mounted from AMW-1103_220.D |  |  | AMW-1107F | DAS Directional - Wall Mounted - Double Das - Mounted from AMW-1103_220.D | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
236 | AMW-1107F1 | [5 empty] | DAS Directional - Wall Mounted - Double Das - Mounted from AMW-1103_301.D |  |  | AMW-1107F1 | DAS Directional - Wall Mounted - Double Das - Mounted from AMW-1103_301.D | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
237 | AMW-1113F | [5 empty] | Exit Sign -Mounted from Secondary Steel Frame - in Shark's Teeth Ceiling CLG-106 |  |  | AMW-1113F | Exit Sign -Mounted from Secondary Steel Frame - in Shark's Teeth Ceiling CLG-106 | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
238 | AMW-1123 | [5 empty] | Single Dropper Emergency Light Bracket - Soffit Mounted |  |  | AMW-1123 | Single Dropper Emergency Light Bracket - Soffit Mounted | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
239 | AMW-1123A | [5 empty] | Single Dropper Emergency Light Bracket - Mounted from Secondary Steel Frame |  |  | AMW-1123A | Single Dropper Emergency Light Bracket - Mounted from Secondary Steel Frame | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
240 | AMW-1125A | [5 empty] | EOL Devices Pole - Floor Mounted - Four Arms |  |  | AMW-1125A | EOL Devices Pole - Floor Mounted - Four Arms | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
241 | AMW-1125B | [5 empty] | EOL Devices Pole - Balustrade Mounted - Four Arms |  |  | AMW-1125B | EOL Devices Pole - Balustrade Mounted - Four Arms | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
242 | AMW-1125C | [5 empty] | EOL Devices Pole - Balustrade Mounted - Three Arms |  |  | AMW-1125C | EOL Devices Pole - Balustrade Mounted - Three Arms | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
243 | AMW-1202B | [5 empty] | CBD Trinoc Signage Bracket incorporating Exit Sign |  |  | AMW-1202B | CBD Trinoc Signage Bracket incorporating Exit Sign | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
244 | AMW-1202C | [5 empty] | CBD Trinoc Signage Bracket - Help Point SGN-210 |  |  | AMW-1202C | CBD Trinoc Signage Bracket - Help Point SGN-210 | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
245 | AMW-1202D | [5 empty] | CBD Trinoc Signage Bracket - Primary Directional Signage SGN-110 500Hx500L |  |  | AMW-1202D | CBD Trinoc Signage Bracket - Primary Directional Signage SGN-110 500Hx500L | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
246 | AMW-1202E | [5 empty] | CBD Trinoc PID Bracket - End of platform |  |  | AMW-1202E | CBD Trinoc PID Bracket - End of platform | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
247 | AMW-1203 | [5 empty] | CBD Trinoc PID Bracket - Column Mounted |  |  | AMW-1203 | CBD Trinoc PID Bracket - Column Mounted | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
248 | AMW-1204A | [5 empty] | CBD Trinoc End wall Bracket - INL-201 mounted - With Light Fitting |  |  | AMW-1204A | CBD Trinoc End wall Bracket - INL-201 mounted - With Light Fitting | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
249 | AMW-1204B | [5 empty] | CBD Trinoc End wall Bracket - INL-201 mounted - Without Light Fitting |  |  | AMW-1204B | CBD Trinoc End wall Bracket - INL-201 mounted - Without Light Fitting | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
250 | AMW-1208 | [5 empty] | Soffit mounted Stainless Steel housing for VAD |  |  | AMW-1208 | Soffit mounted Stainless Steel housing for VAD | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
251 | AMW-1209 | [5 empty] | CBD Trinoc -Single Light Bracket CMS mounted |  |  | AMW-1209 | CBD Trinoc -Single Light Bracket CMS mounted | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
252 | AMW-1210-01 | [5 empty] | CBD Canoe - Double Rib |  |  | AMW-1210-01 | CBD Canoe - Double Rib | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
253 | AMW-1210-02 | [5 empty] | CBD Canoe - SS structural Assembly |  |  | AMW-1210-02 | CBD Canoe - SS structural Assembly | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
254 | AMW-1210-03 | [5 empty] | CBD Canoe - Coated Steel Grille with intergrated patch |  |  | AMW-1210-03 | CBD Canoe - Coated Steel Grille with intergrated patch | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
255 | AMW-1210-04 | [5 empty] | CBD Canoe - Painted Steel Gstructrual dropper |  |  | AMW-1210-04 | CBD Canoe - Painted Steel Gstructrual dropper | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
256 | AMW-1210-05 | [5 empty] | CBD Canoe - Circular fixing/cover plate |  |  | AMW-1210-05 | CBD Canoe - Circular fixing/cover plate | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
257 | AMW-1210-06 | [5 empty] | CBD Canoe - Circular patch for terminal |  |  | AMW-1210-06 | CBD Canoe - Circular patch for terminal | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
258 | AMW-1210-07 | [5 empty] | CBD Canoe - Light fitting shade |  |  | AMW-1210-07 | CBD Canoe - Light fitting shade | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
259 | AMW-1210-08 | [5 empty] | CBD Canoe - Camera Dropper |  |  | AMW-1210-08 | CBD Canoe - Camera Dropper | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
260 | AMW-1210-09 | [5 empty] | CBD Canoe - Cap with embossed logo |  |  | AMW-1210-09 | CBD Canoe - Cap with embossed logo | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | No | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
261 | AMW-1211 | [5 empty] | CBD Trinoc End wall South - Rib Support |  |  | AMW-1211 | CBD Trinoc End wall South - Rib Support | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station
262 | AMW-1215 | [5 empty] | CBD Trinoc CO2 and Temp Sensor Dropper from CMS |  |  | AMW-1215 | CBD Trinoc CO2 and Temp Sensor Dropper from CMS | AMW - ARCHITECTURAL METALWORK | Architectural Design | No |  | Yes | Yes | No |  | No | ACTIVE | New type added 22/06/2023 - Data requirement to be reviewed |  |  |  |  | 1.4.1.1 | Station