## Export
MM Type | Type Description | Valid | Invalid | Undefined | Empty
595713
AAV | Air Admittance Valve | 60
ACC | Air Quality CO2 Controller | 114
ACCESS PANEL |  |  | 8
ACH | Air Cooled Chiller | 6
ACP | Access Control Panel | 86
ACT | Actuator | 149
ACU | Air Conditioning Unit (Outdoor) | 61
ADS | Air and Dirt Separator | 6
AFR | Air Filter | 9
AGM | Authority Gas Meter | 12
AHU | Air Handling Unit | 14
ANC | Mechanical Riser Anchor | 32
APL | Pole Light A | 19
ASD | Aspirating Smoke Detector | 98
ATE | Attenuators Environment Side | 16
ATF | Auto Fill Tank | 3
ATS | Automatic Transfer Switch | 1
ATT | Attenuators Tunnel | 44
AVR | Automatic Voltage Regulator | 2
AWM | Authority Water Meter | 80
BAL | FOH Architectural Light (Box Station) | 3044
BARROMETRIC DAMPER |  |  | 8
BAT | Battery | 165
BAV | Ball Valve | 372
BEF | Battery Room Exhaust Fan | 10
BFT | Buffer Tank | 1
BFV | Butterfly Valve | 23
BGO | BOH General Purpose Outlet | 2926
BGU | Break Glass Unit (Manual Call Point) | 3
BHL | BOH (Back of House) Light | 3898 | 13
BMC | Building Management Cabinet | 7
BMI | Battery | 55 | 2
BSB | Branch Box | 2
BT | Boundary Trap | 8
BTFW | Basket Trap Floor Waste | 1
BTS | Base Transceiver Station Rack | 31
BWU | Boiling Water Unit | 2
CAD | Cable Ladder - A Supply (DC Feeder & Neg) | 377
CBD |  | 378 | 1
CBT | Conduit Traction HV B | 54
CCA | Conduit Critical A | 22
CCB | Conduit Critical B | 51
CDB | Critical Distribution Board | 43
CDT | Cable Duct | 77
CEA | Conduit Essential A | 71
CEB | Conduit Essential B | 10
CED | Concourse Extraction Damper | 4
CEF | Cylinder Exhaust Fan | 7
CEX | CO2 Fire Extinguisher | 222
CFG | Compressed Air Foam Generator | 1
CHM | Chemical Doser | 6
CKV | Check valve | 91
CLA | Cable Ladder - A Supply (Non Ess) AC | 661
CLB | Cable Ladder - B Supply (Non Ess) AC | 1682
CMC | Conduit Combined Comms | 3289
CME | Conduits Combined Electrical | 49
CO | Clean Out | 15
COA | Conduit Comms A | 78
COB | Conduit Comms B | 41
CPN | Challenger Panel | 2
CPT | Cable Pit | 66
CTC |  |  | 9
CWP | Primary or Secondary CHW/HHW Pump |  | 2
Damper |  |  | 5
DAT | Duct Attenuators | 74
DBC | DC Traction Battery Charger | 9
DBP | Dual Booster Point | 10
DBS | DC Traction 48V Batteries | 2
DCI | DC Inverter Assembly | 1
DCKV | Double Check Valve | 3
DCR | DC Rectifier Assembly | 4
DCS | DC Traction Sectionalizer | 30
DCU | Critical Distribution Board | 11 | 51
DEEIF | Electrical Isolation Flange | 156
DFH | Dual Head Fire Hydrant | 352
DHE | DAS Headend Equipment | 3
DNE | Do Not Enter Sign | 78
DRD | Draught Relief Damper | 4
DSB | DC Switchboard | 21
DSP | Decline Sump Pump | 1
DUCT POP |  |  | 34
DUCT-BEND |  |  | 36
DUCT-BRANCH |  |  | 5
DUCT-CAP |  |  | 34
DUCT-ELBOW |  |  | 186
DUCT-FITTING |  |  | 4
DUCT-FLANGE |  |  | 297
DUCT-OFFSET |  |  | 1
DUCT-TRANSITION |  |  | 5
DXS | Directional Exit Sign | 109
EA |  |  | 105
EAF | Exhaust / Relief Air Fan | 6
EBD | ECS Bypass Damper | 6
ECP |  |  | 20
EDB | Essential Distribution Board | 41 | 3
EEL | Earth Electrode | 6
EML | Emergency Light | 1505
EPJ |  |  | 2
EPT | Earth Pit | 45
EQUIPMENT |  |  | 23
ESC | Escalator | 7
Eup | Emergency Lighting UPS | 8
EVC | Evacuate Sign | 74
EWS | Emergency Warning Speaker | 84
EXL | Exit Light | 608
EXP | Expansion Tank | 10
FBC |  |  | 2
FBE |  |  | 1
FBH |  |  | 3
FBT | Fire Rated Cable Basket | 63
FCA | Fire Rated Cable Ladder - Comms A Supply AC | 8449
FCB | Fire Rated Cable Ladder - Comms B Supply AC | 7203
FCL | Fire Rated Cable Ladder | 4200
FCP | Main Fire Control Panel | 3
FCT | Fire Rated Cable Tray | 66
FCU | Fan Coil Unit (Indoor) | 235
FCV | Fire Check Valve | 5
FDI | Flame Detector - Infrared | 8
FDP |  |  | 17
FDR | Concourse Extraction Damper | 1313 | 22
FET | Fireman's Emergency Telephone | 56
FF |  |  | 1
FFC | Fire Fan Control Panel | 4
FFS |  |  | 2
FGO | FOH General Purpose Outlet | 840
FHA | Fire Rated Cable Ladder - HV A Supply AC | 1154
FHB | Fire Rated Cable Ladder - HV B Supply AC | 1011
FHR | Fire Hose Reel | 60
FHY | FIRE HYDRANT | 121
FIL | Filter | 119
FIO | Fire I/O Module | 154
FIP | Fire Indicator Panel | 7
Fire Damper |  |  | 93
FIRE SMOKE DAMPER |  |  | 4
FJB | Fire Junction Box | 9
FJP | Fire Jacking Pump | 1
Fla |  | 6523 | 7
FLB | Fire Rated Cable Ladder - LV Ess, and Crit. B Supply AC | 6065
FLEX CONNECTION |  |  | 8
FLS | Flow Switch | 57
FLX | Fan Flexible Joint | 247
FMT | Foam Concentrate Tank | 1
FMV |  |  | 8
FOB | Fibre Optic Jointing Box | 4
FPD | Smoke Detector - Photoelectric | 34 | 1
FPG | Fire Pressure Gauge | 6
FR ET3 |  |  | 2673
FR100 |  |  | 49
FR60 |  |  | 1009
FR70 |  |  | 45
FSC | Foam Suppression Cylinder | 15
FTA | Fire Rated Cable Ladder - HV Traction A Supply AC | 336
FTB | Fire Rated Cable Ladder - HV Traction B Supply AC | 288
FTR | Fire Trip | 79
FTS | Firefighter Telephone system Headend | 5
FW | Floor Waste | 147
FWG | Floor Waste Gully | 121
FWP | Fire Water Pump | 4
FWT | Fire Water Tank | 2
GAP | General Access Panel | 913
GCO | Conduit (General) | 16081
GCT | Cable Tray (General) | 31
GDC | Gas Discharge | 86
GDD | Guide Nozzle Isolation Dampers | 6
GDF | Duct Fitting (General) | 4525
GDI | Duct Insulation (General) | 6970
GDT | Ducts (General) | 21873
GEF | General Exhaust Fan | 19
GIT | Grease Interceptor | 7
GMP | Generator Panel | 1
GPF | Pipe Fitting (General) | 57678
GPP | Pipes (General) | 51246
GPT | Gross Pollutant Trap | 1
Grille |  |  | 108
GRR | Gas Regulator | 3
GSC | Gas Suppression Cylinder | 104
GSN |  |  | 53
GTP | GIT Pump | 2
HAS | High Voltage Auxiliary Supply | 2
HBC | High Voltage Distribution - Battery Charger | 15
HBS | High Voltage Distribution - 48V Batteries | 2
HCF | Harmonic Filter | 2
HCT | HFT (Halogen Free Fire Resistant Temperature Stable) Conduit | 40
HDT | Heat Detector. | 2
HEB | High Voltage Room Main Earth Bar | 25
HEP | High Voltage Electrical Pit | 1
HJB | High Voltage Junction Box | 6
HLI | High Level Interface | 7
HMI | Human Machine Interface | 1
HNG |  |  | 188
HPP | High Voltage Protection Panel | 8
HT | Hose Tap | 112
HTD | Heat Detector | 48
HVC | High Voltage AC Cable | 16
HVS | High Voltage Switchboard | 10
HWH | Hot Water Heater (Electric/Gas) | 7
HWP | Hot Water Circulation pump | 14
HWU | Hot Water Unit | 29
IBV | Isolation - Butterfly Valve | 4
IVM | Isolation Valve - Monitored | 237
JBX | Junction Box | 2
KEF | Kitchen Exhaust Fan | 2
LAD |  |  | 29586
LCB |  |  | 6
LCC | LIFT |  | 11
LCP | Lighting Control Panel | 28
LCS | Local Control Station | 61
LEB | Low Voltage Room Earth Bar | 12
LEP | Cable Pit | 31 | 9
LFP |  |  | 1
LFT | LIFT | 7
LGS | Light Switch | 193 | 519
LJB | Low Voltage Junction Box | 11
LNB | Low Voltage Room Neutral Bar | 10
LSH | Level Switch High | 2
LSL | Level Switch Low | 2
LTS |  |  | 2
LVB | Low Voltage Bus Duct | 32
LVT | Level Transmitter | 2
MAP |  |  | 571
MAT | Mechanical Air Terminal | 1882
MBF | Mechanical Base-frame | 117
MCP | Manual Call Point | 1
MCV | Motorised Control Valve / Pressure Independent Control Valve | 2
MCZ |  |  | 442
MDB | Main Distribution Board | 2
MDL | Magnetic Door Lock | 2
MEB | Main Earth Bar | 2
MEF | Misc. Exhaust Fan | 2
MEP | Master Emergency Control Panel | 3
MLV | Mechanical Louvre | 2
MNV | Monitored Valve | 2
MOTORISED VOLUME DAMPER |  |  | 8
MPL |  |  | 6
MPN |  |  | 622
MPW |  |  | 4998
MSB | Building Management Cabinet | 20 | 48
MSD | 360° motion sensor detector | 1000
MSM | Mechanical Spring Mount | 88
MVCD |  |  | 4
MVD | Motorised Damper | 762
NBR | Negative Bar | 9
NDB | Non-Essential Distribution Board | 18
Nema 2 |  |  | 6
NER | Neutral Earthing Resistor | 4
NES |  |  | 3
NMS | Non-Essential Mechanical Switchboard | 3
NON RETURN DAMPER |  |  | 2
NRD | Motorised Damper | 14 | 2
OA |  |  | 43
OAF | Outside Air Fan | 54
OCS | Object Controller System Rack | 2
ODD | OTE Duct Dampers | 40
OFD | Over Track Fan Damper | 8
OFN | Over Track Exhaust Fan | 11
OIR | Oil Interceptor | 5
OTD | Over Track Trackway Damper | 8
PB | Pump Box | 1
PCP | Pump Control panel | 1
PEC | PE Cell | 8
PEN | Service Penetration | 8209
PFC | Power Factor Correction Unit | 14
PHE | Plate Heat | 2
PIP |  |  | 1
PIPE |  |  | 42
PIPE-ELBOW |  |  | 28
PIPE-TEE |  |  | 2
PIT | PIT | 15
PMP | Primary or Secondary CHW/HHW Pump | 6
PRD | Motorised Damper | 71 | 2
PRV | Pressure reducing valve | 20
PVP | Photo Voltaic Panel | 399
PVR | PV Rectifier | 2
QBP | Quad Booster Point | 7
QSP | Quad Suction Point | 1
RA |  |  | 78
RAF | Return Air Fan | 2
RCF | General Exhaust Fan | 29 | 8
RDB | Retail Distribution Board | 16
REA |  |  | 2
REB | RSA Earth Bar | 12
REF | Refuse Room Exhaust Fan | 3
REX | Retail Exhaust Damper | 3
RFV | Reflux Valve | 4
RMP | Revenue Metering Panel | 2
RPL | Rainwater Treatment Plant | 2
RPZ | Reduced Pressure Zone Device | 17
RSG | Mechanical Riser Guides | 86
RTP | Roof Top Package Unit | 4
RTS | Room Temperature Sensor | 146
RTU | Remote Terminal Unit | 19
RWO | Rainwater Outlet | 23
RWP | Rainwater Pump | 11
RWR | Remote Water Meter | 55
RWT | Rainwater Tank | 3
SA |  |  | 158
SAF | Supply Air Fan | 8
SBD | Single Blade Damper | 105
SCB | Security Cabinet | 17
SCN | Saccardo ejector | 4
SCP | Service Concrete Plinth | 117
SCV | Sprinkler Check Valve | 9
SCZ | Service Clearance Zone | 4775
SDP | Station Drainage Pump | 52
SEF | Sewer Exhaust Fan | 7
SFD | Motorised Smoke-Fire Damper | 46
SHC | Sprinkler Head Concealed | 678
SHE | Sprinkler Head Exposed | 5273
SHF | Sprinkler Head on Flex | 820
SHG | Service Hangers | 24506
SHP | Sprinkler Head Pendant | 32
SHR |  |  | 9
SHS | Sprinkler Head - Side | 24
SIO | System Inoperative | 35
SIP | Sub Fire Panel | 11
SLV | Solenoid valve | 5
SMD | Motorised Smoke Damper | 519
Smoke Damper |  |  | 26
SMS | Site Master Switch | 7
SND | Saccardo Nozzle Damper | 2
SPE | Smoke Detector - Photoelectric | 1445
SPF | Stair Pressurisation Fan | 18
SPL | Stormwater Treatment Plant | 1
SPP | Sewer Pump | 49
SPR |  |  | 33
SRV | Server | 10
SSP | Sextuple Suction Point | 1
STF | Fire Red Strobe | 11
STV |  |  | 1
SWP |  |  | 1
SWT | Stormwater Tank | 2
TA |  |  | 104
TCC | Telecommunications Cabinet | 11
TCD | Tunnel Critical Distribution Board | 14
TDM |  |  | 2
TDU | Thyristor Drainage Unit | 1
TE |  |  | 2
TEB | High Voltage Traction Earth Bar | 11
TED | Tunnel Emergency Lighting Distribution Board | 6
TEF | Toilet Exhaust Fan | 10
TEL | Tunnel Emergency Light | 265
TEP | Tunnel Drainage Pump | 23
TEV | Tempering Valve | 30
TEX | Temperature Sensor | 13
TFD | Tunnel Fan Damper | 16
TFM | Tunnel Fire Main (Pipe only) | 648
TFN | Tunnel Vent Fan | 18
TGL | Tunnel General Light | 124
TGO | Tunnel General Purpose Outlet | 199
THS | High Voltage Traction Switchboard | 12
TMV | Thermostatic Mixing Valve | 33
TNP |  |  | 4
TPD | Tunnel Pumped Drainage (Pipe only) | 296
TRD | Distribution Transformer | 13
TRF |  |  | 1
TRN | Traction Inverter Transformer | 2
TRX | Traction Transformer | 6
TTD | Tunnel Trackway Damper | 22
TUN | Tundish | 186
TVC | Tunnel Ventilation Control Cabinet | 6
TVI | Tunnel Ventilation I/O Panel | 11
UDB | Main UPS Distribution Board | 12
Unassigned |  |  | 61
UPS | Uninterruptible Power Supply | 14
UPT | Earth Electrode | 17 | 5
UTX | UPVC Conduit | 2
VAD | Visual Warning Device | 905
VAV | Variable Air Volume | 12
VB | Valve Box | 42
VCD | Volume Control Damper | 83
VCP | VicTrack Panel | 2
VES | Vesda sampling point | 414
VLC | Voltage Limiting Device Cabinet | 7
VLC VLC |  |  | 1
VLD-F |  |  | 2
VLO | Voltage Limiting Device (Operating) | 1
VSD | Variable Speed Drive | 22
VTP | Vertical Transport Pump | 5
VTX | Voltage Transformer | 1
XCD | Cross Passage Critical Distribution Board | 8
XYZ |  |  | 3