## Export
MM Type | Type Description | Valid | Invalid | Undefined | Empty
|  |  |  | 526288 | 2
0 |  |  | 487
01_PROJECT |  |  | 1
0921 |  |  | 5
1 |  |  | 2
11 14 00 |  |  | 3
125000 |  |  | 6
22 45 26 |  |  | 1
4 |  |  | 1
AAV | Air Admittance Valve | 72
Aca.p | Acacia pycnantha - Golden Wattle | 46
Acb | Air Circuit Breaker |  | 3
Acb100 | Acer buergerianum - Trident Maple | 2
ACC | Air Quality CO2 Controller | 173
ACCESS PANEL |  |  | 8
Acd | Acacia dealbata - Silver Wattle | 2
ACH | Air Cooled Chiller | 6
ACH-101 | Single Part Floor Access Hatch with Inset Finish - Non Fire Rated | 1
ACH-151 | Multi-part Floor Access Hatch with Inset Finish - Fire Rated | 52
ACH-201 | Single Part Floor Access Hatch with Metal Cover - Fire Rated | 67
ACH-202 | Single Part Floor Access Hatch with Metal Cover - Non Fire Rated | 7
ACH-220 | Two Part Floor Access Hatch with Filled Cover - Fire Rated | 21
ACH-301 | Roof Access Hatch with (As Required) Fixed Ladder | 1
ACH-310 | Roof Access Hatch for Personnel | 1
ACH-320 | Roof Access Hatch for Heavy Plant Replacement | 3
ACH-410 | Single Part Ceiling Access Hatch - Fire Rated | 66
ACH-411 | Ceiling Access Hatch - Fire Rated | 41
ACH-502 | OPE Access Hatch | 8
ACH-503 |  |  | 12
Aci | Acacia implexa - Lightwood | 4
ACP | Access Control Panel | 6
ACT | Actuator | 149
ACU | Air Conditioning Unit (Outdoor) | 60
ADS | Air and Dirt Separator | 6
ADV-101 | Digital Wall Mounted Single Sided Portrait Advertising Panel | 315
ADV-201 | Digital Floor Mounted Double Sided Portrait Advertising Panel | 4
ADV-301 | Digital Cross Track Advertising Box Station | 76
ADV-401 | Digital Overhead Advertising - Type 01 | 4
ADV-410 | Digital Overhead Advertising - Type 02 | 21
ADV-501 | Digital Wall Advertising | 12
AGM | Authority Gas Meter | 10
Agr | Agathis robusta - Queensland Kauri | 9
AHU | Air Handling Unit | 10 | 2
Ala | Araucaria laubenfelsii - De Laubenfels' Araucaria | 3
Alf | Alloxylon flammeum - Tree Waratah | 2
All | Allocasuarina littoralis - Black She-Oak | 41
All.v | Allocasuarina verticillata - Drooping Sheoak | 5
AM-103 |  |  | 4
AMW- |  |  | 1
AMW 1103-CBG.D |  |  | 4
AMW-1001 | Escalator In-Between Handrail Lighting Secondary Portals and Adits - (subject to mock-up) | 4
AMW-1001-01 |  |  | 46
AMW-1001-02 |  |  | 19
AMW-1001-03 |  |  | 122
AMW-1002 | Single Dropper Light Bracket – Soffit Mounted - For Cannister Light Fitting located in Shark's Teeth Ceiling CLG-106 | 116 | 127
AMW-1002A | Single Dropper Light Bracket – Mounted from Secondary Steel Frame - For Cannister Light Fitting located in Shark's Teeth Ceiling CLG-106 | 341
AMW-1004 | Dog Bone' Light Bracket – Mounted from Baffles - For Cannister Light Fitting located in Rib & Baffle Ceiling CLG-101 | 1565
AMW-1005 | Cockatoo (ARD rotary suspended) - Down Light Fitting and Up Light Projector Soffit Bracket - for light fittings in the ARDEN Concourse Skylight | 30
AMW-1005A | Cockatoo (PKV wall mounted) - Down Light Fitting and Up Light Projector Wall Bracket - for light fittings in the PARKVILLE Concourse Skylight | 12
AMW-1005A1 | Cockatoo (PKV wall mounted - sub-type 1) Down Light Fitting Wall Bracket | 9
AMW-1005A2 | Cockatoo (PKV wall mounted - sub-type 2) Down Light Fitting and Up Light Projector Wall Bracket | 3
AMW-1005A3 | Cockatoo (PKV wall mounted - sub-type 3) Down Light Fitting Wall Bracket | 3
AMW‐1005B |  |  | 9
AMW‐1005B1 |  |  | 14
AMW-1005C | Cockatoo (ARD arches) - Down Light Fitting and Up Light Projector Wall Bracket - for light fittings in the ARDEN Arches Ground Floor Entrance | 30
AMW-1005D | Cockatoo (DOM concourse) - Down Light Fitting Bracket - for light fittings in the DOMAIN Concourse | 18
AMW-1008 | Cockatoo (DOM screen) - Down and Up Light Bracket - for light fittings in the DOMAIN Entrance Canopy Weather Screen | 28
AMW-101 | Drum Light | 60 | 34
AMW-1011 | Light Bracket - Recessed Pattress/ Oculus (DOM) | 22
AMW-1013 | Light Bracket - Wall Mounted for Emergency Down Light - Modest Portals | 6
AMW-102 |  |  | 1
AMW-110 | Pendant Light - Type 01 - CBD Trinoc Pendant | 39
AMW-1101 | Wobbegong Bracket - Suspended - Four Terminals | 38
AMW-1101A | Wobbegong Bracket - Suspended - Three Terminals | 173
AMW-1101A.a |  |  | 1
AMW-1101B | Wobbegong Bracket - Suspended - Two Port | 164
AMW-1101B.a |  |  | 3
AMW-1101B1 | Wobbegong Bracket - Suspended - Two Port - CBD Central CMS | 11
AMW-1101C | Wobbegong Bracket - Suspended - Two Port Offset | 40
AMW-1101D | Wobbegong Bracket - Suspended - One Terminal | 122 | 3
AMW-1101D1 | Wobbegong Bracket - Suspended - One Terminal- CBD Platform CMS | 46
AMW-1101E | Wobbegong Bracket - Suspended - One Terminal Offset | 17
AMW-1101E1 | Wobbegong Bracket - Suspended - One Terminal Offset - CBD Platform CMS | 94
AMW-1101F | Wobbegong Bracket - Suspended from PSD wall - One Terminal Offset | 120
AMW-1101F1 | Wobbegong Bracket - Suspended from PSD - One Terminal Offset (HMCT) - CBD Platform | 80 | 1
AMW-1101G | Wobbegong Bracket - Suspended from PSD - One Terminal - CBD Platform similar to type D with no collar | 78
AMW-1102 | Wobbegong - Horizontal Recessed (DOM PRECAST SOFFITS) | 42
AMW-1102A | Wobbegong - Horizontal Recessed (METAL CEILINGS) | 24
AMW-1103 | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals (PKV) | 7
AMW-1103_301 | Wobbegong - VERTICAL Recessed in WALLS - Two Terminals _ Interfacing with INL-301 (PKV) | 35
AMW-1103_301.D | Wobbegong - VERTICAL Recessed in WALLS - DAS _ Interfacing with INL-301 (PKV) | 2
AMW-1103_CBG |  |  | 5
AMW-1103_FM |  |  | 64
AMW-1103_FM.D |  |  | 7
AMW-1103-B |  |  | 13
AMW-1104 | Wobbegong Above Bench - Floor Mounted (ARD) | 1
AMW-1106 | DAS Omni Antenna - Ceiling Mounted - Suspended Cross - 2 DAS | 41
AMW-1106.a |  |  | 24
AMW-1106A | DAS Omni Antenna - Ceiling Mounted - Suspended Cross - 3 DAS | 48
AMW-1106B | DAS Omni Antenna - Ceiling Mounted - Suspended Cross - 2 DAS - Arms at 180 | 39
AMW-1106C | DAS Omni Antenna - CBD CMS Mounted - Suspended - 1 DAS | 30
AMW-1107 | DAS Omni Antenna - Wall Mounted - Double DAS | 7
AMW-1107A | DAS Omni Antenna - Ceiling Mounted - Double DAS Pendant | 12
AMW-1107C | DAS Omni Antenna - Mounted onto Signage Portal AMW-515 - Single Das | 4
AMW-1107E | DAS Directional - Mounted onto Trinoc CMS - Single Das | 72
AMW-1107F | DAS Directional - Wall Mounted - Double Das - Mounted from AMW-1103_220.D | 9
AMW-1107F1 | DAS Directional - Wall Mounted - Double Das - Mounted from AMW-1103_301.D | 2
AMW-1109 | PID Bracket - Ceiling Mounted PID | 40
AMW-1109.a |  |  | 13
AMW-111 | Arden Street Lamp - Floor Mounted (light fittings only, not lamp post) - Emu Light | 9
AMW-1112 | Antenna - Ceiling Mounted - Dropper | 7
AMW-1112A | Antenna - PES Mounted - Dropper | 24
AMW-1113 | Exit Sign - PES Mounted | 77
AMW-1113A | Exit Sign - Ceiling Mounted - Single Sign | 10
AMW-1113B | Exit Sign - Ceiling Mounted - Double Sign | 6
AMW-1113B.a |  |  | 1
AMW-1113B1 |  |  | 1
AMW-1113C | Exit Sign - Ceiling Mounted - Single Sign Central Dropper | 41
AMW-1113C1 | Exit Sign - Ceiling Mounted - Single Sign Central Dropper - Mounted from Canoe | 3
AMW-1113D | Exit Sign - CMS Mounted - Sign perpendicular to Fa硤e | 37
AMW-1113E | Exit Sign - CMS Mounted - Sign paralell to Fa硤e | 41
AMW-1113F |  |  | 4
AMW-1113G | Exit Sign - Pole Mounted | 5
AMW-1113J | Exit Sign - Wall Mounted From INL-341 Façade - Sign Parallel to Façade - Combined With Wayfinding Sign | 2
AMW-1122 | Single Dropper EOL Device Bracket – Soffit Mounted - For EOL Devices located in Shark's Teeth Ceiling CLG-106 | 192
AMW-1122.a |  |  | 1
AMW-1122A | Single Dropper EOL Device Bracket – Mounted from Secondary Steel Frame - For EOL Devices located in Shark's Teeth Ceiling CLG-106 | 552
AMW-1123 | Single Dropper Emergency Light Bracket - Soffit Mounted | 7
AMW-1123A | Single Dropper Emergency Light Bracket - Mounted from Secondary Steel Frame | 48 | 3
AMW-1124 | Dog Bone' EOL Device Bracket – Mounted from Baffles - For EOL Devices located in Rib & Baffle Ceiling CLG-101 | 29
AMW-1125A | EOL Devices Pole - Floor Mounted - Four Arms | 2
AMW-1125B | EOL Devices Pole - Balustrade Mounted - Four Arms | 4
AMW-1125C | EOL Devices Pole - Balustrade Mounted - Three Arms | 1
AMW-120 |  |  | 7
AMW-1201 | Light Bracket and Rib Base Support - Housing Spot Lights and Up Light - Water Strider - (CBD Platform Level) | 86
AMW-1202 | Signage - Water Strider | 35
AMW-1202A | CBD Trinoc PID Bracket | 16
AMW-1202B | CBD Trinoc Signage Bracket incorporating Exit Sign | 30
AMW-1202C | CBD Trinoc Signage Bracket - Help Point SGN-210 | 16
AMW-1202D | CBD Trinoc Signage Bracket - Primary Directional Signage SGN-110 500Hx500L | 18
AMW-1202E | CBD Trinoc PID Bracket - End of platform | 2
AMW-1204 | CBD Trinoc Escalator Nook Light Bracket - Housing Spot Lights | 18
AMW-1204A | CBD Trinoc End wall Bracket - INL-201 mounted - With Light Fitting | 1
AMW-1204B | CBD Trinoc End wall Bracket - INL-201 mounted - Without Light Fitting | 1
AMW-1205 | CBD Trinoc Platform Light Bracket | 168
AMW-1207 | CBD Trinoc VAD Dropper from CMS | 53
AMW-1208 | Soffit mounted Stainless Steel housing for VAD | 4
AMW-1210 | Light and RSA Bracket - CBD Double Rib - Canoe | 2
AMW-1210-01 |  |  | 60
AMW-1210-02 |  |  | 60
AMW-1210-03 |  |  | 4378
AMW-1210-06 |  |  | 99
AMW-1210-07 |  |  | 61
AMW-1211 | CBD Trinoc End wall South - Rib Support | 2
AMW-1212 | CBDS Camera Bracket - Column mounted - Crypt - Fairy Wren | 2
AMW-1212B | Fairy Wren CBDS Camera Bracket - Fixed to Steelwork - Crypt | 2
AMW-1215 | CBD Trinoc CO2 and Temp Sensor Dropper from CMS | 18
AMW-1216 | CBD Camera Bracket - Wall Mounted to INL-201 | 1
AMW-1220 | Painted Steelwork to Crypt Ceiling 'Lattice' |  | 46
AMW-135 |  |  | 34
AMW-140 |  |  | 214
AMW-201 |  |  | 226
AMW-510 | Signage Bracket Tabbed from CMS Zone (Box Stations) | 5
AMW-510A | Signage Bracket Tabbed from CMS Zone (CBD Stations) | 7
AMW-511 | Suspended Signage Bracket - Single | 31
AMW-511B | Suspended Signage - Large Directional Sign | 47
AMW-511B.a |  |  | 5
AMW-511B1 | Suspended Signage - Large Directional Sign - Type 2 - For signs 1050mm wide | 2
AMW-511C | Suspended Signage - Double Rib Canoe (CBD Stations) | 8 | 1
AMW-511D | Suspended Signage - PES Mounted | 6
AMW-511E | ACCESSIBLE BOARDING POINT IDENTIFICATION SGN-130 - PES Mounted (CBD Stations) | 4
AMW-641 |  |  | 14
AMW-643 |  |  | 48
AMW-820 |  |  | 6
AMW-840 |  |  | 78
AMW-850 |  |  | 4
AMW-865 |  |  | 30
AMW-866 |  |  | 7
AMW-930 | Canopy Rainwater Gutter, Hopper and Downpipe Assembly |  | 6
AMW-932 | Rainwater Overflow Ancillaries - Stainless Steel | 6
AMW-934 | Stainless Steel Curved Lift Gutter - DOM | 2
AMW-936 | Canopy Rainwater and Overflow Pipework - Stainless Steel |  | 2
AMW-942 | Bollard | 11
AMW-943 | Stainless Steel Bollard | 1
AMW-947 |  |  | 16
AMW-948 |  |  | 35
AMW-950 | Perimeter Profile - Stainless Steel | 21
AMW-951 | Profile Support to Ventilation Grill - Stainless Steel | 14
AMW-952 | Corner Profile to Ancillary Building | 10
AMW-953 | Roller Shutter Metal Cladding | 1
AMW-955 | Wall Mounted Shelf (PKV) | 1
AMW-960 | Metal Fence with Access Panel | 36
AMW-961 | PED Access Cover Panel | 22
AMW-962 | Water Meter Housing | 1
AMW-963 | Gateline Access Trunking Panel | 2
AMW-965 | Lift Condenser Enclosure - Degraves | 6
AMW-970 | Metal Closing Piece to Stair | 3
AMW-973 |  |  | 1
AMW-980 | Skate Deterrent Stainless Steel Button | 1
AMW-981 | Heavy Duty Wall Corner Guard | 130
AMW-993 | Services Enclosure to Lift | 88
AMW-994 | Perforated Metal Panel (CBDN) | 4
AMW-998 | Metal Recess Channel La Trobe | 20
AMW-999 |  |  | 5
ANC | Mechanical Riser Anchor | 32
Anf | Angophora floribunda - Red Box | 8
APL | Pole Light A | 19
Ara | Arbutus x andrachnoides - Hybrid Strawberry Tree | 3
Arc | Araucaria cunninghamii - Hoop Pine | 5
Arh | Araucaria heterophylla - Norfolk Island Pine | 1
Ars | Araucaria scopulorum - Rock Araucaria | 3
ASD | Aspirating Smoke Detector | 172
ASE-201 | Roof Access Walkway | 21
ASE-210 | Hung Access Walkway | 4
ASE-301 | Fixed Vertical Access Ladder | 39
ASE-302 | Fixed Angled Access Ladder | 87
ASE-304 | Ladder Hook - External | 7
ASE-310 |  |  | 2
ASE-401 | Welded Bar Access Floor | 62
ASE-410 | Trafficable Floor Grating - FOH | 9
ASE-502 | Stainless Steel Portal BMU Rail | 2
ASE-601 | Recessed Access Rail - CBDN | 4
Atc | Athrotaxis cupressoides - Pencil Pine | 5
ATE | Attenuators Environment Side | 20
ATF | Auto Fill Tank | 3
ATS | Automatic Transfer Switch | 5
ATT | Attenuators Tunnel | 36
AVR | Automatic Voltage Regulator | 2
AWM | Authority Water Meter | 26
AWM-950 |  |  | 1
Bai | Banksia integrifolia - Coast Banksia | 16
BAL | BOH (Back of House) Light | 3452 | 142
BAL-110 | Floor Mounted Stair Balustrade | 71
BAL-110-02 |  |  | 142
BAL-111 | Floor Mounted Stair Balustrade - Glazed | 6
BAL-111-02 |  |  | 6
BAL-111-11 |  |  | 44
BAL-113 | Side Mounted Stair Balustrade - Glazed (DOM) | 7
BAL-114 | Side-Mounted Stair Balustrade - FOH (CBDN Retail) | 33
BAL-120 | Floor Mounted Stair Handrail - BOH | 602
BAL-120-02 |  |  | 134
BAL-120-05 |  |  | 27
BAL-150 | Wall Mounted Stair Handrail - BOH | 228
BAL-150-01 |  |  | 6
BAL-150-02 |  |  | 8
BAL-151 | Wall Mounted Stair Handrail - FOH | 44
BAL-152 | Fibre Reinforced Polymer Stair Balustrade (ISS) | 2
BAL-160 | Floor Mounted Stair Balustrade (La Trobe) | 50
BAL-201 | Ramp Handrail - Stainless Steel | 3
BAL-202 | Ramp Handrail - Glazed (DOM) | 52
BAL-220 | Ramp Handrail - BOH | 2
BAL-301 | Edge Balustrade - Glazed Infill | 545
BAL-301-02 |  |  | 6
BAL-301-05 |  |  | 138
BAL-320 | Edge Balustrade - Glazed Infill with Stone Upstand | 10
BAL-330 | Edge Balustrade - Glazed (DOM) | 32
BAL-401 | Floor Mounted Balustrade - Glazed Infill | 265
BAL-401-01 |  |  | 2
BAL-401-03 |  |  | 17
BAL-402 | Floor Mounted Balustrade - Glazed Intermediate Panel | 13
BAL-403 | Floor Mounted Bypass Gate - Glazed | 17
BAL-410 | Floor Mounted Balustrade - Glazed Infill with Stone Upstand | 21
BAL-460 | FRP Handrail | 51
BAL-501 | Floor Mounted Balustrade - BOH | 147
BAL-502 | Side Mounted Balustrade - BOH | 57
BAL-503 | Floor Mounted Balustrade - Demountable | 4
BAL-530 | Balustrade to Top of Trackside Wall | 14
BAL-532 | Balustrade to Roof of La Trobe | 13
BAL-550 | Wall Mounted Handrail - BOH | 11
BAL-560 | Bumper Rail - BOH | 142
BAL-570 | Trackside Floor Mounted Handrail - BOH | 2
BAL-571 | Trackside Wall Mounted Handrail - BOH | 1
BAL-601 | Escalator Fall Protection Balustrade | 109
BAL-601-02 |  |  | 381
Bam | Banksia marginata - Silver Banksia | 2
BARROMETRIC DAMPER |  |  | 8
Bas | Banksia serrata - Old Man Banksia | 25
BAT | Battery | 175
BAV | Ball Valve | 399
BEF | Battery Room Exhaust Fan | 14
BEM | BOH Emergency Light | 595
BFL | FOH Feature Light (Box Station) | 86
BFT | Buffer Tank | 1
BFV | Butterfly Valve | 44
BGO | BOH General Purpose Outlet | 3500 | 1
BGU | Break Glass Unit (Manual Call Point) | 4
BHL | BOH (Back of House) Light | 5629 | 5
BIKE SHARE |  |  | 1
BLK-101 | Reinforced Blockwork - 190mm | 2283
BLK-102 | Reinforced Blockwork - 290mm | 606
BLK-105 | Reinforced Blockwork - 140mm | 59
BLK-106 |  |  | 3
BMC | Building Management Cabinet | 8
BMI | Battery | 82 | 2
BOH |  |  | 2
BPL | Pole Light B | 16
Bra | Brachychiton acerifolius - Illawarra Flame Tree | 8
BRK-102 | External Brickwork (ARD) | 30
Brp | Brachychiton populneus - Kurrajong | 3
Brp 25L | Brachychiton populneus - Kurrajong | 4
Brp 45L | Brachychiton populneus - Kurrajong | 30
BT | Boundary Trap | 8
BTFW | Basket Trap Floor Waste | 1
BTS | Base Transceiver Station Rack | 31
Buc | Buckinghamia celsissima - Ivy Curl Tree | 10
BVC-101 | Mesh Screens | 5
BVC-103 | Roost Inhibitors Spikes | 10
BWU | Boiling Water Unit | 2
BY RSA |  |  | 5
BY_RSA |  |  | 1
BYPASS |  |  | 111
Cab | Callitris baileyi - Cypress Pine | 3
Cac | Computer Room Air Conditioner |  | 14
CAD | Cable Ladder - A Supply (DC Feeder & Neg) | 731
CAN | Conduit Non-Essential A | 896
CAN-101 |  |  | 1
CAN-211 | OSD Entrance Canopy | 1
CAN-310 | Modest Portal Entrance Canopy | 10
Cas | Callistemon sieberi - River Bottlebrush | 4
CAT | Conduit Traction HV A | 32
CBD | Cable Ladder - B Supply (DC Feeder & Neg) | 649
CBT | Conduit Traction HV B | 94
CCA | Conduit Critical A | 507
CCB | Conduit Critical B | 460
CCTV MONITOR |  |  | 6
CDB | Critical Distribution Board | 99 | 37
CDT | Cable Duct | 144
CEA | Conduit Essential A | 3370
CEB | Conduit Essential B | 2709
CED |  |  | 11
CEF | Cylinder Exhaust Fan | 8
CEX | CO2 Fire Extinguisher | 424
CFG | Compressed Air Foam Generator | 1
CGO | Communications General Purpose Outlet | 401
CHA | Conduit HV A | 67
CHB | Conduit HV B | 239
CHM | Chemical Doser | 6
CJB | Communication Junction Box | 15
CKV | Check Valve | 100
CLA | Cable Ladder - A Supply (Non Ess) AC | 3314
CLB | Cable Ladder - B Supply (Non Ess) AC | 1793
CLG-101 | Loose Fit Ceiling System - Types A and B - Box Stations - Ribs and Baffles | 4 | 195
CLG-101-01 |  |  | 786
CLG-101-02 |  |  | 849
CLG-101-03 |  |  | 1265
CLG-101-03A |  |  | 293
CLG-101-06 |  |  | 1139
CLG-101-07 |  |  | 319
CLG-102 | Loose Fit Ceiling System - Types C and D - Ribs and Baffles (CBD Stations) | 46 | 15
CLG-102-01 |  |  | 48
CLG-102-02 |  |  | 73
CLG-102-03 |  |  | 48
CLG-102-11 |  |  | 2
CLG-105 | Suspended Wishbone Bracketry - Type 1 - Flying Fox (ARD) | 28
CLG-105A | Suspended Wishbone Bracketry - Type 2 - Flying Fox (PKV) | 30
CLG-105B | Suspended Wishbone Bracketry - Type 3 - Flying Fox (DOM) | 38
CLG-106A | Loose Fit Ceiling System - Type 1 - 350mm Baffles - Sharks Teeth | 121
CLG-106B | Loose Fit Ceiling System - Type 2 - 500mm Baffles - Sharks Teeth | 1042
CLG-106C | Loose Fit Ceiling System - Type 3 - 650mm Baffles - Sharks Teeth | 388
CLG-106D | Sharks Teeth - Restricted Ceiling Zones | 25
CLG-107 | Acoustic Lining to Soffit (Generally Located above Shark's Teeth) | 40
CLG-111 |  |  | 1
CLG-201 | Metal Clip-in Ceiling Tile | 5
CLG-202 | Perforated Metal Ceiling | 125 | 7
CLG-202-01 |  |  | 1
CLG-202-02 |  |  | 34
CLG-203 | Recessed Metal Soffit Panel | 20
CLG-204 |  |  | 284
CLG-205 |  |  | 3
CLG-260 | Perforated Metal Ceiling - La Trobe | 5 | 80
CLG-261 | Capping Plate to the Edge of the Ceiling (CLG-260) | 8 | 3
CLG-262 | Perforated Metal Ceiling - Flinders Link | 3
CLG-270 | Metal Profiled Soffit Lining - Degraves | 82
CLG-271 |  |  | 4
CLG-280 | Suspended Services Tray - Entrance Canopy Parkville |  | 14
CLG-281 | Folded Acoustic Metal Ceiling with Integrated Services to Crypt |  | 18
CLG-282 | Metal Soffit Panel | 4
CLG-301 | Flat GRC Ceiling System | 49 | 2
CLG-301-02 |  |  | 1
CLG-301-03 |  |  | 1
CLG-302 | Flat GRC Ceiling System with Acoustic Perforations | 8
CLG-405 |  |  | 1
CLG-450 |  |  | 1
CLG-460 |  |  | 1
CLG-601 | Plasterboard Ceiling - CSC | 25
CLG-602 | Plasterboard Ceiling - PSO | 2
CLG-603 | Plasterboard Ceiling - Secure | 8
CLG-604 | Plasterboard Ceiling - Water Resistant | 175
CLG-610 | Fire Separating Plasterboard Ceiling System - 2hr FR | 124
CLG-611 | Acoustic/ Fire Separating Plasterboard Ceiling - 2hr FR | 13
CLG-612 | Acoustic Non FR Plasterboard Ceiling | 7
CLG-613 | Thermal Fire Separating Plasterboard Ceiling System - 2HR FR | 17
CLG-614 | Acoustic No Perf No FR Ceiling Plasterboard System | 2
CLG-620 | Acoustic Lay in Ceiling System - BOH | 79
CLG-630 | 2-Way Fire Separating Ceiling - 2HR (PKV Cafe) | 2
CLG-631 | One-way Fire Separating Ceiling - 2HR | 2
CLG-640 | Acoustic Ceiling Panel System - FR | 86
CLG-641 | Under Escalator Ceiling Panel System - FR | 10
CLG-645 | PB Ceiling System - Degraves | 12
CLG-646 |  |  | 17
CLG-701 | BOH Acoustic Fan/ Plenum Ceiling Lining 50mm | 45
CLG-702 | BOH Acoustic Fan/ Plenum Ceiling Lining 100mm | 65
CLG-ASKIN |  |  | 1
CLG-XXX |  |  | 1
CLK-1004 |  |  | 1
CMC | Conduit Combined Comms | 20200
CME | Conduits Combined Electrical | 2303
CNB | Conduit Non-Essential B | 583
CO | Clean Out | 15
COA | Conduit Comms A | 6386
COB | Conduit Comms B | 4046
Cof | Corymbia ficifolia 'Fairy Floss' - Flowering Gum | 2
Com | Communications Module |  | 2
COS |  |  | 231
CPD | Cross Passage Door | 52
CPE | Cross Passage and Door Egress Envelope | 132
CPN | Challenger Panel | 2
CPT | Cable Pit | 71
CPW | Cross Passage Wall | 104
CTA | Conduit Traction DC A | 307
CTB | Conduit Traction DC B | 130
CTC |  |  | 9
Cya | Cyathea australis - Rough Tree Fern | 3
D17 |  |  | 48
DAMPER |  |  | 5
DAT | Duct Attenuators | 72
DBC | DC Traction Battery Charger | 14
DBP | Dual Booster Point | 9
DBS | DC Traction 48V Batteries | 2
DCB | DC Circuit Breaker | 10
DCI | DC Inverter Assembly | 2
DCKV | Double Check Valve | 2
DCR | DC Rectifier Assembly | 7
DCS | DC Traction Sectionalizer | 40
DCU | DC CB Panel for UPS | 13
DETAIL D5 |  |  | 2
DFH | Dual Head Fire Hydrant | 351
DHE | DAS Headend Equipment | 24
DIP | Dipole Cable Ladder | 156
DIS | DC Traction Isolator | 2
DNE | Do Not Enter Sign | 134
DRD | Draught Relief Damper | 8
DSB | DC Switchboard | 27
DSP | Decline Sump Pump | 31
DST-101 | BOH - Standard Doorset | 820
DST-110 | FOH - Standard Doorset | 33
DST-120 | BOH - Acoustic Doorset | 8
DST-121 | BOH - Large Acoustic Doorset | 6
DST-127 | Sliding Doorset RNERV | 13
DST-150 |  |  | 1
DST-205 | Glazed Frameless Single Doorset | 4
DST-242 | Retail 5 Doorset (South Facing) | 1
DST-247 | Arches Retail Doorset Single Door | 3
DST-249 | Sliding Double Glazed Retail Door System | 5
DST-301 | Roller Shutter - FOH | 7
DST-302 | Fire Rated Roller Shutter - FOH | 5
DST-303 | Roller Shutter - Degraves | 4
DST-401 | Wall Access Panel | 127
DST-500 SERIES |  |  | 9
DST-501 |  |  | 19
DST-503 | Overclad Louvred Door | 7
DST-551 | Self Closing Gate | 2
DST-566 | Sliding Fire Doorset | 1
DST-570 | Partition Wall Doorset | 59
DST-702 |  |  | 29
DST-703 | Overclad Lift Door | 15
DUCT POP |  |  | 35
DUCT-BEND |  |  | 36
DUCT-BRANCH |  |  | 5
DUCT-CAP |  |  | 33
DUCT-ELBOW |  |  | 186
DUCT-FITTING |  |  | 4
DUCT-FLANGE |  |  | 294
DUCT-OFFSET |  |  | 1
DUCT-TRANSITION |  |  | 5
DXS | Directional Exit Sign | 809
EA |  |  | 104
EAF | Exhaust / Relief Air Fan | 1
EBD | ECS Bypass Damper | 10
EDB | Essential Distribution Board | 88 | 15
EDG-102 | Bluestone Edge - Raised - Type 02 | 6
EDG-104 | Bluestone Edge - Raised - Type 04 | 3
EDG-111 | Bluestone Edge - Flush - Type 01 | 8
EDG-112 | Bluestone Edge - Flush - Type 02 | 3
EDG-113 | Bluestone Edge - Flush - Type 03 | 18
EDG-114 | Bluestone Edge - Flush - Type 04 | 4
EDG-116 | Bluestone Edge - Flush - Type 06 | 2
EDG-117 | Bluestone Edge - Flush - Type 07 | 18
EDG-120 |  |  | 1
EDG-122 | Bluestone Edge - Flush - Type 12 | 1
EDG-142 | Granite Edge - Flush - Type 02 | 8
EDG-143 | Granite Edge - Flush - Type 03 | 13
EDG-144 | Granite Edge - Flush - Type 04 | 7
EDG-145 | Granite Edge - Flush - Type 05 | 15
EDG-163 | Metal Edge - Type 03 | 1
EDG-171 | Concrete Edge | 2
EDG-191 | Corten Edge - Raised - Type 01 | 46
EEB | Earth Bar | 10
EEL | Earth Electrode | 10
EIF | Electrical Isolation Flange | 156
EML | BOH (Back of House) Light | 1486 | 1
EMW-101 | Handrail - Single - Type 01 | 32
EMW-102 | Handrail - Single - Type 02 | 6
EMW-103 | Handrail - Single - Type 03 | 5
EMW-104 | Handrail - Single - Type 04 | 7
EMW-105 | Handrail - Single - Type 05 | 2
EMW-106 | Handrail - Single - Type 06 | 7
EMW-111 | Handrail - Double - Type 01 | 3
EMW-113 | Handrail - Double - Type 03 | 1
EMW-121 | Kick Rail - Type 01 | 8
EMW-201 | Balustrade - Type 01 | 3
EMW-203 | Balustrade - Type 03 | 1
EMW-204 | Balustrade - Type 04 | 1
EMW-205 | Balustrade - Type 05 | 3
EMW-206 | Balustrade - Type 06 | 2
EMW-208 | Balustrade - Type 08 | 1
EMW-301 | Fence - Steel - Security | 1
EMW-312 | Fence - Steel - Pedestrian - Type 02 | 1
EMW-322 |  |  | 6
ENG | Energy Meter | 2
EPJ | Expansion Joint | 2
EPT | Earth Pit | 49
EQUIPMENT |  |  | 23
ESC | Escalator | 14
ETP | Earthing Test Point | 26
Euc.c | Eucalyptus camaldulensi - River Red Gum | 9
Eul | Eucalyptus Leucoxylon - Euky Dwarf | 5
Eum | Eucalyptus melliodora - Eucalyptus melliodora "beardsell pink" | 4
Eup |  |  | 36
Eup100 | Eucalyptus polyanthemos - Red Box | 3
Eut | Eucalyptus tereticornis - Forest Red Gum | 7
EVA |  |  | 17
EVC | Evacuate Sign | 115
EWS | Emergency Warning Speaker | 64
EWS-101 | External Retail Curtain Wall System | 110
EWS-102 | Retail External Curtain Wall System with Hidden Frame | 2
EWS-107 |  |  | 103
EWS-110 | Rain Screen Curtain Wall System with Sloped Upstand and Hanging Rail Over Void Edge | 67 | 44
EWS-111 | Glass with Triangular Transoms Curtain Wall System | 35
EWS-112 | Plinth Mounted Glazed Facade System (Portal) | 295
EWS-113 | Floor Mounted Glazed Façade System (Portal) | 2
EWS-114 | High Level Glazed Façade System above CAN-310 (Portal) | 3
EWS-115 | Rain Screen Curtain Wall System | 24 | 50
EWS-120 | Plinth Mounted Glazed Facade System (DOM) | 166
EWS-140 | Retail Cladding to Retail Pod at Tram Platform | 3
EWS-142 |  |  | 1
EWS-142-01 |  |  | 3
EWS-142-02 |  |  | 2
EWS-142-04 |  |  | 14
EWS-201 | Precast Concrete Wall Panel - Brick Facing Infill (ARD) | 30
EWS-202 | Precast Concrete Wall Top Panel - Brick Facing Infill (ARD) | 9
EWS-203 | Precast Concrete Wall Base Panel - Brick Facing Infill (ARD) | 57
EWS-205 | Concrete Arch Base Infill (ARD) | 17
EWS-222 | Precast Concrete Arch Panel - Opening and Brick Facing Infill (Type B & D) (ARD) | 2
EWS-262 |  |  | 12
EWS-268 | Precast Concrete Wall Panel - Typical (CBDN) | 406
EWS-271 | Precast Concrete Wall Panel - Opening (CBDN) | 12
EWS-272 | Precast Concrete Wall Panel - End Condition (CBDN) | 56
EWS-274 | Curved Precast Concrete Wall Panel | 85
EWS-280 | Precast Concrete Wall Panel - Typical (PKV) | 10
EWS-284 | Precast Concrete Wall Panel - Vertical Louvres (DOM) | 8
EWS-285 | Curved Precast Concrete Wall Panel - Vertical Louvres (DOM) | 16
EWS-287 | Precast Concrete Wall Panel - Chiller Vertical Flat Bars (DOM) | 66
EWS-290 | Stone Faced Precast Concrete Wall (Type 0) (DOM) | 9
EWS-293 | Stone Faced Precast Concrete Wall (Type 3) (DOM) | 3
EWS-301 | Porcelain Cladding Panel | 58
EWS-302 | Porcelain Cladding Base Panel | 17
EWS-401 | Lift Cladding - Glazing System (Planar) | 649
EWS-410 | Lift Cladding - Glazing System (Curved) | 58
EWS-411 | Lift Cladding - Colour Glazing System | 20
EWS-450 | Trickle Vent to Head of Lift Glazing | 65
EWS-451 | Curved Profile Trickle Vent to Head of Lift Glazing | 2
EWS-460 | Stainless Steel Blanking Panel | 214
EWS-470 | Lift Cladding - Glazing System (Planar) - Degraves | 96
EWS-471 | Lift Cladding Louvre - Degraves | 18
EWS-501 | External Louvre | 24
EWS-510 | External Fixed Louvre - Type 01 | 8
EWS-511 | External Fixed Louvre - Type 02 | 17
EWS-534 | Anodised Louvre (DOM Retail Kiosk) | 5
EWS-535 |  |  | 4
EWS-540 |  |  | 89
EWS-550 |  |  | 356
EWS-601 |  |  | 1
EWS-611 | External Profiled Ribbed Cladding with Stainless Steel Insert | 12
EWS-620 | Bespoke Metal Cladding with Custom Perforations | 313
EWS-621 | Solid Metal Cladding | 27
EWS-650 | Aluminium Spandrel Panel | 7
EWS-651 | Metal Spandrel Panel with Concealed Louvres | 6
EWS-652 | Metal Parapet Panel | 4
EWS-653 |  |  | 14
EWS-660 | Corrugated Metal Cladding | 54
EWS-663 | Insulated Wall Panel System (DOM) | 27
EWS-664 |  |  | 6
EWS-670 | Ribbed Metal Panel System (ISS) | 16
EWS-671 | Ribbed Metal Panel System Enclosure (ISS) | 21
EWS-672 | Fin Metal Screen (ISS) | 6
EWS-673 |  |  | 6
EWS-675 |  |  | 48
EWS-680 |  |  | 2
EWS-680-01 |  |  | 10
EWS-680-02 |  |  | 2
EWS-701 | External GRC Cladding | 40
EWS-720 | In Situ Form Concrete - Type 01 | 36
EWS-722 | Vertical End Glazing to Main Entry Canopy | 3
EWS-750 | ISS External Cladding | 3
EWS-751 | ISS External Soffit | 2
EWS-760 | External Stud Wall System - PKV Cafe | 10
EWS-761 | External Glazed Wall System - PKV Cafe | 35
EWS-762 | External Mesh System - Type 1 - PKV Cafe | 26
EWS-763 | External Mesh System - Type 2 - PKV Cafe | 7
EWS-770 | Bluestone Cladding - PKV | 8
EWS-782 |  |  | 64
EWS-802 | Metal Fence | 32
EWS-803 | Cafe Plant Fence Enclosure | 5
EXISTING TESLTRA PHONEBOOTH |  |  | 1
EXL | Exit Light | 998
EXP | Expansion Tank | 10
FBC |  |  | 2
FBE |  |  | 1
FBH |  |  | 3
FBT | Fire Rated Cable Basket | 63
FCA | Fire Rated Cable Ladder - Comms A Supply AC | 28953
FCB | Fire Rated Cable Ladder - Comms B Supply AC | 26758
FCE-101 | Gateline | 80
FCE-201 | Ticket Machine | 11 | 1
FCE-301 | Gateline Attendant Controller | 11
FCE-401 | QTEM | 19 | 1
FCL | Fire Rated Cable Ladder | 25943
FCP | Main Fire Control Panel | 4
FCT | Fire Rated Cable Tray | 4495
FCU | Fan Coil Unit (Indoor) | 234
FCV | Fire Check Valve | 16
FDR | Fire Damper | 1290 | 16
FEM | FOH Emergency Light | 38
FET | Fireman's Emergency Telephone | 238
FFC | Fire Fan Control Panel | 7
FFE |  |  | 12
FFE 277-04 |  |  | 2
FFE 277-05 |  |  | 4
FFE_256 |  |  | 5
FFE_257 |  |  | 3
FFE-101 | Floor Mounted Island Seating Module - 8 Seats | 27
FFE-120 | Wall Mounted Bench Module - 4 Seats | 18
FFE-125 | Wall Mounted Seating Module - 4 Seats (DDA) | 4
FFE-140 | Floor Mounted Bench Module - 4 Seats | 15
FFE-145 | Floor Mounted Seating Module - 4 Seats (DDA) | 48
FFE-150 | Wall Mounted Bench Module - 3 Seats | 3
FFE-155 | Wall Mounted Seating Module - 3 Seats (DDA) | 8
FFE-202 | Hand Towel Rails | 3
FFE-203 | Pull Out Waste Bin (Tea Point) | 9
FFE-204 | Paper Towel Dispenser | 4
FFE-205 | Double Underbench Waste Bins (35L+35L) | 6
FFE-206 | CSC Secondary Storage | 5
FFE-210 | Coat Hook | 167
FFE-211 | Sling Hook | 26
FFE-212 |  |  | 4
FFE-213 |  |  | 1
FFE-215 | Mop and Broom Rack | 4
FFE-220 | Pass Through Tray | 4
FFE-222 | Key Cabinet | 3
FFE-230 | Cable Outlet | 50
FFE-232 | Analogue Wall Clock | 3
FFE-233 | Digital Wall Clock | 6
FFE-234 | White Board | 33
FFE-235 | Bulletin Board | 53
FFE-238 | Fold Down Seat | 6
FFE-239 | Ticket Window Voice Communication System | 5
FFE-241 | SCR Storage Unit | 4
FFE-242 | PSO-H Bench | 7
FFE-243 | Staff Lunch Tea Point | 6
FFE-244 | Staff Non-Lunch Tea Point | 1
FFE-247 | PSO-W Overhead Storage Unit | 18
FFE-248 | PSO Tea Point (2 Person) | 1
FFE-249 | PSO Tea Point (4-6 Person) | 1
FFE-250 | Meal Table | 14
FFE-251 | Meal Table Chair | 53
FFE-252 | Waste Bin | 37
FFE-253 | Bench Mounted Soap Dispenser | 1
FFE-254 | Dishwasher | 6
FFE-256 | Microwave Oven | 7
FFE-257 | Toaster Oven | 2
FFE-259 | Bar Fridge | 3
FFE-260 | Locker Room Bench | 28
FFE-261 | Locker | 424
FFE-262 | Meeting Room Table Small | 6
FFE-265 | Adjustable Shelving | 37
FFE-266 | CSC Desk Type 1 | 8
FFE-267 | CSC Desk Type 2 | 4
FFE-269 | CSC Lost Property Storage | 4
FFE-270 | Filing Cabinet | 1
FFE-271 | Storage - Mobile Pedestal | 13
FFE-272 | Safe - Ticket Office | 4
FFE-273 | Safe - General Office | 8
FFE-275 | Adjustable Foot Stool | 14
FFE-276 | Meeting Table | 20
FFE-277 | Workstation | 20
FFE-277-01 |  |  | 2
FFE-277-02 |  |  | 27
FFE-277-03 |  |  | 5
FFE-277-04 |  |  | 1
FFE-277-05 |  |  | 7
FFE-277-06 |  |  | 18
FFE-277-07 |  |  | 5
FFE-278 | Adjustable Drawing Table | 6
FFE-279 | Drawing Rack | 6
FFE-280 | Task Chair | 194
FFE-281 | Task Chair - Drafting Height | 12
FFE-282 | Armchair | 12
FFE-283 | Parents Room Armchair | 12
FFE-284 | Convex Mirror (Egress Paths) | 9
FFE-285 | First Aid Medicine Equipment Cabinet | 3
FFE-286-01 |  |  | 2
FFE-286-02 |  |  | 4
FFE-286-03 |  |  | 3
FFE-286-04 |  |  | 3
FFE-287 | Sign In Desk | 3
FFE-288 | Meeting Room Storage | 5
FFE-289 | Maintenance Office Storage | 4
FFE-290 | Examination Couch | 5
FFE-291 | Bicycle Rack | 35
FFE-292 | First Aid Joinery | 3
FFE-293 | Parents Room Joinery | 5
FFE-294 | Staff Kitchen Joinery | 4
FFE-295 | Tea Point | 2
FFE-296 | Fold Down Shelf | 3
FFE-297 | Wall Mounted Workstation | 5
FFE-298 | Wall Mounted Workstation (Dual Monitors) | 3
FFE-299 | SMO Storage | 6
FFE-301 | ATM | 6
FFE-310 | Vending Machine | 36
FFE-330 | Help Point | 53
FFE-340 | Public Rubbish Bag Holder | 17
FFE-350 | Poster Case | 58
FFE-351 | Pay Phone | 4
FFE-401 |  |  | 14
FFE-402 | Disaster Plan Cabinet | 1
FFE-420 | Fire Hydrant Cabinet | 74
FFE-421 | Fire Hose Reel Cabinet | 9
FFE-430 | PSO CCTV Joinery | 6
FFE-440 | PSO Wet Gear Joinery - 2 Person | 1
FFE-450 | PSO Wet Gear Joinery - 4 Person | 7
FFE-650-01 |  |  | 1
FFE-701 | Suspended Gateline Portal | 2
FFE-750 | Floor Mounted Gateline Portal | 11
FFE-805 | Totem - PID Integrated | 1
FFE-807 | Totem - Exit Guide | 10
FFE-820 | Totem Fire Hydrant and Help Point | 42
FFE-821 |  |  | 2
FFE-830 | Vent Totem | 4
FFE-890 | Floor Mounted Postercase | 2
FFE-901 | Street Lamp | 9
FFE-902 | Street Lamp - Balustrade Integrated - Arden | 4
FFE-910 |  |  | 1
FGO | BOH General Purpose Outlet | 908 | 13
FHA | Fire Rated Cable Ladder - HV A Supply AC | 4189
FHB | Fire Rated Cable Ladder - HV B Supply AC | 4088
FHR | Fire Hose Reel | 105 | 3
FHY | Fire Hose Reel | 203 | 3
FIL | Filter | 127
FIO | Fire I/O Module | 264 | 9
FIP | Fire Indicator Panel | 6
FIRE DAMPER |  |  | 93
FIRE SMOKE DAMPER |  |  | 4
FJB | Fire Junction Box | 12
FJP | Fire Jacking Pump | 3
FLA |  |  | 11509
FLA-101 | Metal Flashing | 52
FLA-102 | Metal Flashing -WPZ | 3
FLA-103 | Curved Metal Flashing - EPZ | 1
FLA-160 | Stainless Steel Flashing (DOM Retail Kiosk) | 4
FLA-201 | Metal Roof Capping | 28
FLA-202 | Metal Roof Capping | 5
FLB | Fire Rated Cable Ladder - LV Ess, and Crit. B Supply AC | 10579
FLEX CONNECTION |  |  | 8
FLG-101 | Stone Paving | 189
FLG-101-01 |  |  | 4
FLG-101X |  |  | 2
FLG-102 | Stone Paving - Bridges | 3
FLG-105 | Stone Paving Inset - Contrast | 73
FLG-111 | Stone Paving with Black Blister Tactile Indicator | 1130 | 2
FLG-112 | Stone Paving with Black Corduroy Tactile Indicator | 2388 | 25
FLG-120 | Bluestone Paving | 18
FLG-131 | Bluestone Paving with Sesame Blister Tactile Indicator | 14
FLG-133 | Bluestone Paving with Sesame Corduroy Tactile Indicator | 37
FLG-140 | Stone Paving - Degraves | 19
FLG-145 | Terrazzo to Match Existing - Degraves | 8
FLG-146 | Terrazzo - Campbell Arcade | 4
FLG-160 |  |  | 1
FLG-201 | Vitrified Tiles - FOH | 29
FLG-210 | Vitrified Tiles - BOH | 25
FLG-301 | Vinyl Flooring | 126
FLG-302 | Vinyl Flooring - Static Dissipative | 36
FLG-310 | Vinyl Flooring - PSO | 20
FLG-320 | Vinyl Flooring - La Trobe | 1
FLG-350 | Bitumen Floor - Degraves | 2
FLG-401 | Slot Drain | 45
FLG-402 | Linear Drain with Tile Insert | 14
FLG-601 | Carpet | 48
FLG-750 |  |  | 20
FLG-751 | Stainless Steel Blister Tactile Indicator Plate | 204
FLG-810 | Checker Plate Flooring | 1
FLG-811 | FC Floor System (Trafficable) | 15
FLG-820 |  |  | 1
FLG-822 |  |  | 168
FLG-824 |  |  | 461
FLOOR FINISH BY TENANT |  |  | 3
FLP | Flexible Pipe | 14
FLP-201 | Flood Door | 1
FLP-210 | Flood Door - Degraves | 1
FLP-340 | Barrier with Flood Protection Post Fixing | 1
FLP-401 | Flood Bund | 572
FLS | Flow Switch | 79
FLX | Fan Flexible Joint | 387
FN-201 |  |  | 8
FOB | Fibre Optic Jointing Box | 3
FPD | Smoke Detector with probe | 51
FPG | Fire Pressure Gauge | 6
FPS-101 | Gypsum Fire Boarding | 246
FPS-301 | Drop Down Smoke Curtain | 4
FPS-401 | Smoke Barrier | 12
FPS-402 | Large Smoke Barrier | 1
FPS-410 | Glass Smoke Barrier | 607
FPS-430 |  |  | 5
FPV | Frog Flap/Flap Valve | 1
FR ET3 |  |  | 1
Fra | Fraxinus angustifolia subsp.angustifolia - Desert Ash | 3
FRN-101 | Bench - Steel - Type 01 | 12
FRN-102 | Bench - Steel - Type 02 | 3
FRN-104 | Bench - Steel - Type 04 | 3
FRN-105 | Bench - Steel - Type 05 | 8
FRN-111 | Bench - Granite - Type 01 | 6
FRN-112 | Bench - Granite - Type 02 | 9
FRN-113 | Bench - Granite - Type 03 | 3
FRN-114 | Bench - Granite - Type 04 | 3
FRN-115 | Bench - Granite - Type 05 | 7
FRN-121 | Bench - Timber - Type 01 | 5
FRN-122 | Bench - Timber - Type 02 | 3
FRN-142 |  |  | 1
FRN-143 |  |  | 4
FRN-151 | Seat - Steel - Type 01 | 4
FRN-155 | Seat - Steel - Type 05 | 43
FRN-157 | Seat - Steel - Type 07 | 6
FRN-162 | Seat - Timber - Type 02 | 5
FRN-163 | Seat - Timber - Type 03 | 6
FRN-164 | Seat - Timber - Type 04 | 2
FRN-201 | Picnic Setting Table - Proporietary | 7
FRN-301 | Bollard - Steel - Fixed | 13
FRN-311 | Bollard - Steel - Removable - Type 01 | 16
FRN-312 | Bollard - Steel - Removable - Type 02 | 2
FRN-321 | Bollard - Security Rated - Fixed - Type 01 | 31
FRN-322 | Bollard - Security Rated - Fixed - Type 02 | 9
FRN-323 | Bollard - Security Rated - Fixed - Type 03 | 52
FRN-331 | Bollard - Security Rated - Removable - Type 01 | 2
FRN-332 | Bollard - Security Rated - Removable - Type 02 | 13
FRN-333 | Bollard - Security Rated - Removable - Type 03 | 64
FRN-336 | Bollard - Security Rated - Removable - Type 06 | 12
FRN-401 | Tree Grate and Guard - Type 01 | 141
FRN-421 | Tree Surround - Type 01 | 1
FRN-422 | Tree Surround - Type 02 | 28
FRN-441 |  |  | 51
FRN-461 | Structural Cells | 72
FRN-501 | Bin - General - Type 01 | 39
FRN-501~521 |  |  | 2
FRN-502 | Bin - Recycle - Type 01 | 38
FRN-503 | Bin - General - Type 02 | 8
FRN-504 | Bin - Recycle - Type 02 | 8
FRN-521 | Bike Hoops - Type 01 | 418
FRN-523 |  |  | 4
FRN-541 | Drink Fountain - Type 01 | 3
FRN-544 | Drink Fountain - Type 04 | 7
FRN-551 | Skate Deterrent Element - Type 01 | 53
FRN-552 | Skate Deterrent Element - Type 02 | 15
FRN-553 | Skate Deterrent Element - Type 03 | 24
FRN-561 | BBQ Unit - Double | 2
FRN-602 | Cabinet - Water Meter - Type 02 | 2
FRN-603 | Cabinet - Water Meter - Type 03 | 17
FRN-607 |  |  | 1
FRN-620 | Cabinet - Fire Booster | 1
FRN-630 | Cabinet - DISPLAN - Type 01 | 6
FRN-631 | Cabinet - DISPLAN - Type 02 | 1
FRN-640 |  |  | 1
FRN-641 | Cabinet - Electrical - Type 01 | 5
FRN-642 | Cabinet - Electrical - Type 02 - Recessed | 1
FRN-643 | Cabinet - Electrical - Type 03 - Recessed | 11
FRN-650 | Cabinet - Fire Hydrant | 1
FRN-701 | Shelter Structure | 1
FRN-XXX |  |  | 1
Frp | Fraxinus pennsylvanica - 'Cimmzam' Cimmaron Ash | 6
Frp100 | Fraxinus pennsylvanica - 'Cimmzam' Cimmaron Ash | 3
Frv | Ficus rubiginosa - Rusty Fig | 9
FSC | Foam Suppression Cylinder | 2
FTA | Fire Rated Cable Ladder - HV Traction A Supply AC | 528
FTB | Fire Rated Cable Ladder - HV Traction B Supply AC | 496
FTR | Fire Trip | 199
FTS | Firefighter Telephone system Headend | 7
FTT |  |  | 2
FW | Floor Waste | 148
FWG | Floor Waste Gully | 121
FWP | Fire Water Pump | 3
FWT | Fire Water Tank | 2
GAP | General Access Panel | 1582
GCO |  |  | 158
GDC | Gas Discharge | 227
GDD | Guide Nozzle Isolation Dampers | 6
GDF | Duct Fitting (General) | 4486
GDI | Duct Insulation (General) | 6875
GDT | Ducts (General) | 21724
GEF | General Exhaust Fan | 23
GIT | GIT Pump | 6 | 1
GL-03 |  |  | 13
GL-06 |  |  | 10
GL-06b |  |  | 20
Glt | Gleditsia triacanthos 'Sunburst' - Golden Honey Locust | 9
GMP | Generator Panel | 1
GPF | Pipe Fitting (General) | 82587
GPO | General Purpose Outlet | 21
GPP | Pipes (General) | 69321
GRILLE |  |  | 110
GRL-101 | Ventilation Louvre - Galvanised | 26
GRL-110 | Ventilation Louvre - Stainless Steel | 1
GRL-120 | Ventilation Louvre - Aluminium | 29
GRL-124 | Integrated Ventilation Louvre - Removable - Aluminium | 7
GRL-125 |  |  | 3
GRL-127 |  |  | 1
GRL-140 | Integrated Ventilation Louvre - Removable - Aluminium (Box Stations) | 23
GRL-150 | Ventilation Louvre - Flangeless Flat Bar | 41
GRL-151 | Circular Air Grille for Air Intakes located within First Material Panels (INL-220) | 42
GRL-210 | Ventilation Cowl - Stainless Steel | 3
GRL-212 |  |  | 2
GRL-301 | Trafficable Floor Grating with Bird Mesh - FOH | 34
GRL-302 | Trafficable Floor Grating - BOH Vent Shafts | 161
GRL-xxx |  |  | 2
GRR | Gas Regulator | 3
GSC | Gas Suppression Cylinder | 211
GSN |  |  | 60
GSV | Gas Suppression Valve | 8
GTD | Grated Trench Drain | 1
GTP | GIT Pump | 2
GWI | Gas Isolation Valve | 6
Gya | Gymnostoma australianum - Daintree Pine | 11
HAS | High Voltage Auxiliary Supply | 2
HBC | High Voltage Distribution - Battery Charger | 17
HBS | High Voltage Distribution - 48V Batteries | 2
HCF | Harmonic Filter | 2
HEB | High Voltage Room Main Earth Bar | 31
HEP | High Voltage Electrical Pit | 1
HJB | High Voltage Junction Box | 6
HLI | High Level Interface | 9
HPP | High Voltage Protection Panel | 10
HT | Hose Tap | 113
HTD | Heat Detector | 94
HVC | High Voltage AC Cable | 16
HVS | High Voltage Switchboard | 14
HWH | Hot Water Heater (Electric/Gas) | 7
HWP | Hot Water Circulation pump | 12
HWU | Hot Water Unit | 29
INL-101 | GRC Lining Panel | 1415 | 50
INL-101-01 |  |  | 4
INL-102 |  |  | 144
INL-103 |  |  | 4
INL-104 | GRC Lining Panel with Acoustic Perforations | 708
INL-105 | GRC Lining Panel Access Door | 26
INL-109 |  |  | 13
INL-150 |  |  | 41
INL-201 | Coloured Glass Wall Lining | 3094 | 335
INL-203 | Coloured Glass Wall Lining - Access Panel | 751 | 13
INL-204 | Coloured Glass Wall Lining - Contrast | 88 | 1
INL-205 | Coloured Glass Wall Lining - Access Door | 321
INL-220 | Flat Aluminum Close Jointed Panel System - 1st Material | 960 | 122
INL-220A | Perforated Flat Aluminum Close Jointed Panel System - 1st Material | 119 | 38
INL-220B |  |  | 8
INL-221 | Dado Rail Assembly above the CMS Zone | 1052 | 77
INL-221-02 |  |  | 18
INL-221A | Dado Rail Assembly (CBD Platform PSD Side: Bottom of INL-346 Wall) | 430
INL-221B | Dado Rail Assembly with integrated light fitting. | 26 | 17
INL-222 | Extruded Aluminium CMS Panel with Intermittent Access Doors | 755 | 64
INL-224-01 |  |  | 348
INL-225A | CMS Assembly with Access Panels and Surface Mounted Acoustic Baffles - 2 Baffles (CBD Central Trinoc) | 230
INL-228 | Cornice - CBD Platform PSD (Top of INL-346 Wall) | 178
INL-228-04 |  |  | 114
INL-229-0 |  |  | 44
INL-229-2 |  |  | 54
INL-250 | Coloured Glass Wall Lining - Splash Back | 3
INL-260 | Clear Glass Wall Lining | 12
INL-301 | Perforated Metal Lining - Acoustic | 1378
INL-302 | Lozenges, Frame and Micro Louver Acoustic Panel Infill System (PKV) | 28
INL-303 | Flat Metal Lining | 1256 | 460
INL-304 |  |  | 12
INL-320 | Metal Lining - Escalator | 868
INL-320-01 |  |  | 1
INL-321 |  |  | 7
INL-322 |  |  | 6
INL-325 | Metal Lining - Infill Lining Escalators | 108
INL-326 | Metal Lining - Infill Escalators - Trafficable | 1
INL-340 | Perforated Ribbed Lining Panel - Acoustic | 617
INL-340-01 |  |  | 2
INL-341 | Perforated Ribbed Metal Lining Panel with SS Insert - Acoustic | 138
INL-344 | Perforated Ribbed Metal Lining Access Panel - Acoustic | 877
INL-345 | Perforated Ribbed Metal Lining Panel with Articulated Joints - Acoustic | 2028 | 124
INL-345-07 |  |  | 303
INL-345-08 |  |  | 2
INL-346 | Perforated Ribbed Acoustic Metal Lining Panel with Articulated Joints (CBD Platform) | 436 | 147
INL-346-07 |  |  | 238
INL-350 | Flat Metal Lining Exterior | 15
INL-351 | Stainless Steel Window Sill above Metal Lining - CBDN | 4
INL-353 | Stainless Steel Lining | 18 | 2
INL-360 | Metal Lining with Backing Board | 690
INL-361 | Stainless Steel Lining with Backing Board | 877
INL-362 |  |  | 11
INL-363 | Formed Stainless Steel Cover Plate - CBDS | 17
INL-370 | Metal Lining Closer | 514
INL-390 | Metal Channel to Edge of Metal Lining | 201
INL-391 | Flat Metal Lining (CBDN) | 120
INL-401 | BOH Sanitary Room Tiling | 300
INL-402 | FOH Tiling to FSS Link (CBDS) | 11
INL-403 |  |  | 18
INL-404 |  |  | 1
INL-510 | Dry Lining 85mm Zone | 135
INL-511 |  |  | 2
INL-520 | Dry Lining 85mm Zone | 208
INL-530 | Dry Lining 120mm Zone | 230
INL-540 | Dry Lining - Insulated 125mm Zone | 791
INL-560 | Dry Lining - Insulated 132mm Zone | 176
INL-640 |  |  | 1
INL-901 | Void Edge Cladding Panel - DOM | 3
INL-902 |  |  | 18
INL-910 | Integrated Panelling System - 125mm Zone | 1609 | 1
INL-910-01 |  |  | 4
INL-911 | Integrated Panelling System - 85mm Zone | 1214
INL-920 | Column Lining - Campbell Arcade | 5
INL-930 | Over Cladding to Jet Diffuser (ARD, PKV) | 33 | 2
INL-950 | Plenum Lining System | 122
INL-960 |  |  | 8
INL-980 | Heavy Duty Vinyl Lining | 204
INL-990 | BOH Acoustic Fan/ Plenum Room Lining - 50mm | 95
INL-990-A |  |  | 63
INL-990-B |  |  | 11
INL-991 | BOH Acoustic Fan/ Plenum Room Lining - 100mm | 364
INL-991-A |  |  | 37
INL-991-B |  |  | 22
INL-991-C |  |  | 6
INL-995 |  |  | 23
INS-101 | Wall Insulation | 1
INS-110 | Ceiling Insulation | 23
INS-120 | Floor Insulation | 1
INS-130 | Roof-Ceiling Insulation | 57
INS-140 | Portal Roof Insulation | 34
ISO | Isolator LV | 215
IVM | Isolation - Butterfly Valve | 342 | 4
IWS-101 | Cubicle Partition System | 270
IWS-201 | Internal Glazed Wall System | 1
IWS-210 | Internal Retail Cladding - Glazed | 73
IWS-210-01 |  |  | 1
IWS-210-02 |  |  | 2
IWS-210-03 |  |  | 3
IWS-210-04 |  |  | 1
IWS-211-01 |  |  | 33
IWS-211-03 |  |  | 2
IWS-320 | Stud Partition - 120mm | 391
IWS-330 | Acoustic Partition Wall - 215mm | 411
IWS-330-2 |  |  | 3
IWS-340 | Double Stud Partition Wall | 5
IWS-350 | Bridged Chase Wall - PKV Cafe | 1
IWS-360 | Vending Machine Partition | 2
IWS-401 | Platform Edge Screen Cladding - Box Station | 4
IWS-502 | Dry Wall ECS Partiion | 4
IWS-503 | Partition System Under Stair - FR | 30
IWS-510 | Partition Wall System | 413
IWS-511 | Partition Wall System - Caulked | 57
IWS-520 | Core Filled Partition System - Acoustic | 18
IWS-521 |  |  | 1
IWS-522 |  |  | 3
Jam | Jacaranda mimosifolia - Jacaranda | 7
JBX | Junction Box | 38
KEF | Kitchen Exhaust Fan | 6
Kob | Koelreuteria bipinnata - Chinese Flame Tree | 8
Lag | Lagerstroemia indica x fauriei - Crepe Myrtle | 4
LAN-101 | Hydroseed Grass on Grade | 10
LAN-111 | Hydroseed Grass on Structure | 5
LAN-121 | Turf on Grade | 46
LAN-131 | Turf on Structure | 7
LAN-201 | Garden Bed on Grade - Type 01 | 77
LAN-211 | Garden Bed on Structure - Type 01 | 44
LAN-301 | WSUD Garden Bed on Grade - Type 01 | 7
LAN-311 | WSUD Garden Bed on Structure - Type 01 | 4
LCP | Lighting Control Panel | 282
LCP - TBC TOUCH |  |  | 2
LCS | Local Control Station | 81 | 15
LCT | Lighting Circuit | 440
LEB | Low Voltage Room Earth Bar | 12
LEP | Cable Pit | 54 | 6
LFP |  |  | 1
LFT | Lift | 28
LGC | Lighting Control Panel |  | 1
LGS | Light Switch | 817 | 281
Lia | Livistonia australis - Cabbage Tree Palm | 3
Lid | Livistona decipiens - Ribbon Fan Palm | 3
Lis | Liquidambar styraciflua - Sweet Gum | 7
LJB | Low Voltage Junction Box | 58
LNB | Low Voltage Room Neutral Bar | 16
LSH | Level Switch High | 2
LSL | Level Switch Low | 2
LVB | Low Voltage Bus Duct | 29
LVT | Level Transmitter | 2
MAT | Mechanical Air Terminal | 1847
MBF | Mechanical Base-frame | 117
MCC | Motor Control Centre | 2
MCJ-101 | Floor Expansion Joint - Trafficable FOH Stone Paving | 78
MCJ-201 | Floor Movement Joint - Trafficable FOH Stone Paving | 17
MCJ-202 | Non Slip Plate Movement Joint | 10
MCP | Manual Call Point | 1
MCV | Motorised Control Valve / Pressure Independent Control Valve | 4
MDB | Main Distribution Board | 2
MDL | Magnetic Door Lock | 2
MEB | Main Earth Bar | 2
Mee | Melaleuca ericifolia - Swamp Paperbark | 3
MEF | Misc. Exhaust Fan | 2
MEP | Master Emergency Control Panel | 4
MEP-170 | Stainless Steel Service Beam for Street Portals | 13
MEP-206 | Canister Light | 252
MEP-211 | Linear LED Light | 1
MEP-259 | Privacy Door System (PDS) | 7
MEP-450 | PID | 12
MEP-495 |  |  | 2
MEP-520 | Louvres | 13
MEP-521 | Acoustic Louvre | 107
MEP-550 | Jet Diffuser | 1
MEP-560 | Venitaltion Bank (ISS) | 34
MEP-611 | Emergency Call Button | 18
MEP-650 | Floor Mounted Davit Crane Socket | 11
MEP-652 | LEOS (Local Emergency Override System) | 11
MEP-653 | Lift Control Box | 17
MEP-655 | Landing Call Button | 17
MEP-710 | Fire Hose Reel | 70
MEP-711 | Fire Indicator Panel | 1
MEP-720 | Sprinkler Installation (STR-370) |  | 60
MEP-730 | Fire Extinguishers | 4
MEP-810 | Floor Drain | 1
MEP-820 | Rainwater Pipe | 11
MEP-821 | Stainless Steel Rain Water Pipe |  | 74
MEP-822 | Flexible Stainless Steel Rain Water Pipe Connection | 1
MEP-823 | Stainless Steel Rain Water Pipe | 3
MEP-880 | Inclined Box Gutter |  | 2
MEP-890 | Hot Water Unit | 3
MEP-891 | Thermostatic Mixing Valve | 1
MEP-892 | Stainless Steel Overflow | 41
MEP-893 | Sump | 6
MIS-100 | Reinstated Heritage Bluestone Edge | 4
MIS-101 | Reinstated Cockbill Fountain | 1
MIS-102 | Reinstated South African Soldiers Memorial (SASM) | 3
MIS-103 | Reinstated Windsor Oak Plaque | 1
MIS-104 | Reinstated SASM Plaque | 1
MIS-105 | Reinstated Firewheel Tree Plaque | 1
MIS-106 | Reinstated Heritage Plinth | 1
MIS-107 | Reinstated Heritage Bluestone Wall | 4
MIS-108 | Reinstated Heritage Fence | 2
MIS-122 | Reinstated Burke and Wills Statue | 1
MIS-123 | Reinstated Beyond the Ocean of Existence | 2
MIS-124 | Reinstated Commemorative Steps | 5
MLV | Mechanical Louvre | 2
MNV | Monitored Valve | 2
MOTORISED VOLUME DAMPER |  |  | 8
MSB | Escalator | 29 | 27
MSD | 360° motion sensor detector | 1821
MSM | Mechanical Spring Mount | 88
MSS | Mechanical Services Switchboard | 8
MVD | Motorised Damper | 751
NBR | Negative Bar | 11
NDB | Non-Essential Distribution Board | 32
NER | Neutral Earthing Resistor | 4
NMS | Non-Essential Distribution Board | 5 | 1
Noc | Nothofagus cunninghamii - Myrtle-beech | 2
NON RETURN DAMPER |  |  | 2
non-ffe |  |  | 31
NRD | Non-Return Damper | 16
NTD |  |  | 1
Nys100 | Nyssa sylvatica - Tupelo | 2
Nys45 | Nyssa sylvatica - Tupelo | 1
OA |  |  | 42
OAF | Outside Air Fan | 54
OCS | Object Controller System Rack | 2
ODD | OTE Duct Dampers | 40
ODV | Drop vertical | 10818
OEC | OHLE Earth Connector | 2141
OFD | Over Track Fan Damper | 11
OFN | Over Track Exhaust Fan | 11
OIR | Oil Interceptor | 5
ORE | ROCB Support Envelope | 1737
ORR | ROCB Hanger and Rigid Bar | 2210
ORS | ROCB Support and Bracket | 8504
OSE | Stagger Envelope | 18901
OTD | Over Track Trackway Damper | 10
PAV-101 | Paving - Bluestone - Type 01 | 100
PAV-102 | Paving - Bluestone - Type 02 | 48
PAV-103 | Paving - Bluestone - Type 03 | 22
PAV-104 | Paving - Bluestone - Type 04 | 2
PAV-105 | Paving - Bluestone - Type 05 | 1
PAV-106 | Paving - Bluestone - Type 06 | 9
PAV-108 |  |  | 1
PAV-111 | Paving - Bluestone Pitcher - Type 01 | 2
PAV-112 | Paving - Bluestone Pitcher - Type 02 | 2
PAV-121 | Paving - Granite - Type 01 | 1
PAV-122 | Paving - Granite - Type 02 | 19
PAV-123 | Paving - Granite - Type 03 | 6
PAV-124 | Paving - Granite - Type 04 | 2
PAV-131 | Paving - Brick | 6
PAV-151 | Paving Inlay - Bluestone - Type 01 | 5
PAV-152 | Paving Inlay - Bluestone - Type 02 | 5
PAV-153 | Paving Inlay - Bluestone - Type 03 | 1
PAV-201 | Paving - Concrete - Insitu - Type 01 | 7
PAV-203 | Paving - Concrete - Insitu - Type 03 | 4
PAV-204 | Paving - Concrete - Insitu - Type 04 | 4
PAV-205 | Paving - Concrete - Insitu - Type 05 | 2
PAV-212 | Paving - Concrete - Precast - Type 02 | 2
PAV-301 | Paving - Granitic Sand | 28
PAV-302 | Paving - Permeable pebble mix | 2
PAV-401 | Paving - Asphalt | 130
PAV-501 | Mulch Paving - Inorganic | 3
PAV-502 | Mulch Paving - Organic | 38
PAV-701 | TGSI - Hazard - Stone - Type 01 | 5
PAV-702 | TGSI - Hazard - Stone - Type 02 | 236 | 1
PAV-703 | TGSI - Hazard - Stone - Type 03 | 2
PAV-704 | TGSI - Hazard - Stone - Type 04 | 18
PAV-712 | TGSI - Directional - Stone - Type 02 | 226
PAV-713 | TGSI - Directional - Stone - Type 03 | 3
PAV-714 | TGSI - Directional - Stone - Type 04 | 3
PAV-801 | Natural Stone Stepper - Bluestone | 39
PB | Pump Box | 1
PCP | Pump Control panel | 7
PEC | PE Cell | 8
PED | Platform Extraction Damper | 5
PEN | Service Penetration | 10809
PFC | Power Factor Correction Unit | 14
PHE | Plate Heat | 2
Pic | Pistacia chinensis - Chinese Pistachio | 2
Pih | Pinus halepensis 'Aleppo Pine' - Aleppo Pine | 4
PIPE |  |  | 42
PIPE-ELBOW |  |  | 28
PIPE-TEE |  |  | 2
PIT | Pit | 27
Pla | Platanus x acerifolia - London Plane | 61
PMP | Primary or Secondary CHW/HHW Pump | 8
PNT-101 | Dust Proof Sealer to Concrete and Structural Soffits | 27
PNT-401 | Water Based Epoxy Anti-Slip Floor Coating - Internal | 64
PNT-405 | Water Based Epoxy Anti-Slip Floor Coating - Internal | 8
PNT-410 | Water Based Epoxy Anti-Slip Floor Coating - BOH Stair Nosing | 2
PNT-501 | Floor Markings Paint | 5
Poc | Populus x canadensis 'Aurea' - Golden Poplar | 6
Poe | Podocarpus elatus - Brown pine | 2
PRD | Pressure Relief Damper | 74
PRINTER |  |  | 2
PRV | Pressure Reducing Valve | 21
PSD | Platform Screen Doors |  | 5
PVP | Photo Voltaic Panel | 399
PVR | PV Rectifier | 2
QBP | Dual Booster Point | 13 | 1
QSP | Quad Suction Point | 4
Qua | Quercus acutissima - Bristle-tipped Oak | 51
Qua 100L | Quercus acutissima - Bristle-tipped Oak | 3
Qup | Quercus palustris - Pin Oak | 3
RA |  |  | 97
RAF | Return Air Fan | 2
RCF | Roof Cowl | 29
RDB | Retail Distribution Board | 15
REB | RSA Earth Bar | 14
REF | Refuse Room Exhaust Fan | 2
REX | Retail Exhaust Damper | 14
RFL-101 |  |  | 39
RFL-201 | Curved Entrance Rooflight |  | 25
RFS-202 | Profiled Metal Roof - Aluminium | 17
RFS-202-01 |  |  | 1
RFS-202-04 |  |  | 17
RFS-203 | Metal Roof | 23
RFS-203-04 |  |  | 8
RFS-205 | Pressed Seam Metal Roof System - Aluminium | 35
RFS-205-04 |  |  | 35
RFS-206 | Metal Soffit (Portal) | 341 | 6
RFS-207 | Profiled Roof Metal Edge (Portal) | 354
RFS-210 | Stainless Steel Roof (External Lifts) | 1
RFS-230 |  |  | 1
RFS-501 | Glazed Roof to Lifts | 9
RFS-502 | Triangulated Glazed Roof to Circular Lifts | 2
RFV | Reflux Valve | 4
RGM | Remote Gas Meter | 2
RMP | Revenue Metering Panel | 2
RPL | Rainwater Treatment Plant | 2
RPZ | Reduced Pressure Zone Device | 12
RSG | Mechanical Riser Guides | 86
RTP | Roof Top Package Unit | 4
RTS | Room Temperature Sensor | 208
RTU | Remote Terminal Unit | 27
RWO | Rainwater Outlet | 23
RWP | Rainwater Pump | 9
RWR | Remote Water Meter | 123
RWT | Rainwater Tank | 4
SA |  |  | 160
SAF | Stair Pressurisation Fan | 4 | 2
SAFETY ZONE |  |  | 10
SAN-101 | WC | 33
SAN-102 | Staff WC | 18
SAN-103 | Ambulant WC | 16
SAN-104 | Wall Faced WC with Close Coupled Cistern | 12
SAN-120 | DDA WC | 10
SAN-120-L |  |  | 18
SAN-120-R |  |  | 8
SAN-150 | DDA Toilet Flush Buttons | 46
SAN-151 | Toilet Flush Buttons | 72
SAN-152 | Dual Flush Access Panel | 56
SAN-201 | Basin | 47
SAN-210 | DDA Basin | 8
SAN-210-L |  |  | 20
SAN-210-R |  |  | 37
SAN-211 | Changing Places Basin | 5
SAN-220 | Cleaners Sink | 26
SAN-230 | First Aid Basin | 4
SAN-241 | Kitchen Point Sink | 20
SAN-242 | Round Sink | 5
SAN-257 | Ceiling Hoist | 1
SAN-301 | Urinal | 42
SAN-302 | Urinal Privacy Panel | 38
SAN-303 | Urinal | 2
SAN-401 | Infrared Panel Mounted Tap | 56
SAN-402 | DDA Basin Mixer Tap | 56
SAN-410 | Kitchen Sink Mixer | 25
SAN-420 | Boiling and Chilled Filtered Water Tapset | 31
SAN-420-01 |  |  | 1
SAN-421 | Boiling and Chilled Filtered Water Tapset | 7
SAN-430 | Cleaners Sink Tap | 25
SAN-450 | DDA Shower Rail | 25
SAN-451 | DDA Shower Handset | 20
SAN-452 | DDA Shower Mixer | 20
SAN-460 | Combined Emergency Shower and Eye Wash | 6
SAN-461 | Emergency Eye and Face Wash | 4
SAN-462 | Lockable Cleaner's Tap | 81
SAN-470 | First Aid Tapset | 2
SAN-501 | DDA Integrated Mirror | 31
SAN-502 | Integrated Mirror | 53
SAN-503 | Staff Amenities Mirror | 59
SAN-504 | Full Length Mirror | 10
SAN-510 | DDA Hand Dryer | 72
SAN-512 | Hand Dryer Recessed | 37
SAN-515 | Sanitary Bin | 113
SAN-516 | Paper Towel Dispenser | 51
SAN-520 | DDA Soap Dispenser (BOH) | 60
SAN-521 | Infrared Panel Mounted Soap Dispenser | 49
SAN-522 | Soap Dispenser - DDA Toilet (FOH) | 37
SAN-525 | Baby Change Table | 18
SAN-526 | Changing Places Changing Table | 5
SAN-527 | Changing Places Ceiling Hoist | 5
SAN-528 | Surface Mounted Baby Change Table | 4
SAN-530 | PSO Toilet Roll Holder | 7
SAN-531 | Toilet Roll Holder (Jumbo) | 136
SAN-550 | 90° Flush Mount Grab Rail | 70
SAN-551 | 40° Flush Mount Wrap Around Grab Rail | 28
SAN-553 | Horizontal Flush Mounted Grab Rail | 12
SAN-554 |  |  | 3
SAN-556 | Drop Down Grab Rail with Toilet Roll Holder (CPF) | 7
SAN-560 | DDA Shower Seat | 7
SAN-561 | Ambulant Shower Seat | 16
SAN-565 | Shower Track and Curtain | 8
SAN-566 | Privacy Screen | 11
SAN-570 | Shelf | 9
SAN-575 | DDA Towel Rail | 7
SAN-580 | Soap Holder | 20
SAN-590 | Sanitising Wipes Dispenser | 5
SAN-595 | Sharps Disposal Bin | 50
SAN-596 | Wall Mounted Waste Bin | 37
SAN-597 | Nappy Disposable Bin/ Incontinence Pad Disposal Bin | 29
SAN-598 | Mop and Broom Holder | 21
SBD | Single Blade Damper | 101
SCB | Security Cabinet | 17
SCN | Saccardo ejector | 4
SCO |  |  | 2
SCP | Service Concrete Plinth | 121
SCR-101 | Unbonded Wearing Slab – BOH and Plant Room Areas | 10
SCR-101-100 |  |  | 33
SCR-101-140 |  |  | 21
SCR-101-150 |  |  | 122
SCR-101-200 |  |  | 12
SCR-101-75 |  |  | 1
SCR-101-80 |  |  | 21
SCR-120 |  |  | 2
SCR-130 | Unbonded Wearing Slab - External and Roof Areas | 31
SCR-201 | Levelling Screed - Slab Rectification | 18
SCR-210 | Graded Screed - Wet Areas/ Bathrooms | 75
SCR-210-100 |  |  | 2
SCR-210-20 |  |  | 6
SCR-210-30 |  |  | 3
SCR-210-40 |  |  | 7
SCR-210-45 |  |  | 40
SCR-210-50 |  |  | 1
SCR-210-65 |  |  | 4
SCR-210-70 |  |  | 3
SCR-210-75 |  |  | 1
SCR-211 | Bonded Screed - Concourse | 32
SCR-211-100 |  |  | 3
SCR-211-80 |  |  | 9
SCR-212 | Unbonded Screed - Platform | 42
SCR-212-100 |  |  | 10
SCR-212-75 |  |  | 13
SCR-212-80 |  |  | 115
SCV | Sprinkler Check Valve | 8
SCZ | Service Clearance Zone | 3292
SDP | Pump Control panel | 36 | 5
SEF | Sewer Exhaust Fan | 7
SFD | Motorised Smoke-Fire Damper | 63
SFV | Foot Operated Valve | 1
SGN-110 | Suspended Wayfinding Signage | 153
SGN-120 | Wall Mounted Wayfinding Signage | 248
SGN-130 | Tabbed Wayfinding Signage | 90
SGN-140 | Integrated Wayfinding Signage | 309
SGN-210 | Suspended Illuminated Wayfinding Signage | 14
SGN-240 | Wall Integrated Illuminated Wayfinding Sign | 19
SGN-340 | Wall Integrated Digital PID | 3
SGN-401 | Wall Mounted Wayfinding Signage | 733
SGN-510 | Wall Mounted Regulatory Signage | 143
SGN-520 | Wall Integrated Regulatory Signage | 8
SGN-530 | Door Mounted Regulatory Signage | 29
SGN-540 | Door Mounted (Fire Door) Regulatory Signage | 244
SGN-601 | Legible City Totem | 18
SGN-620 | Legible City Fingerpost | 5
SGN-630 | Station Identifier (Flagpost) | 4
SGN-701 | Retail Signage | 76 | 5
SGN-730 | Tabbed Illuminated Retail Sign | 7
SGN-815 | Braille and Tactile Panel Fully Encapsulated | 1187
SGN-816 | Engraved Panel with Paint Filled Lettering | 1268
SGN-817 | Metal Panel with Vitreous Enamel | 871
SGN-818 | Profile Cut Vinyl (Glazed Surfaces Only) | 441
SGN-890 | Glazing Manifestation Film | 30
SHC | Sprinkler Head Concealed | 1198
SHD | Shower Drain | 9
SHE | Sprinkler Head Exposed | 8593
SHF | Sprinkler Head on Flex | 1510
SHG | Service Hangers | 357686
SHO | Sprinkler Head - Open | 16
SHS | Sprinkler Head - Side | 76
SIO | System Inoperative | 70
SIP | Sub Fire Panel | 20
SKT-101 | 150mm Sesame Stone Skirting | 1979
SKT-102 | 150mm Sesame Stone Skirting | 38
SKT-109 | Fed Square Stone Skirting | 3
SKT-111 | Sesame Stone Skirting - Vertical | 291
SKT-130 | 150mm Sesame Stone Skirting Recessed in Column | 105
SKT-161 | Bluestone Skirting - Vertical | 13
SKT-162 | Curved Bluestone Skirting | 10
SKT-180 |  |  | 26
SKT-201 | Coved Vinyl Skirting | 327
SKT-210 | Flat Vinyl Skirting | 38
SKT-211 | 100mm Coved Vinyl Skirting | 16
SKT-220 | Coved Vinyl Skirting - La Trobe | 21
SKT-301 | 150mm Skirting - Painted | 33
SKT-302 |  |  | 1
SKT-401 | Tile Skirting - FOH | 578
SKT-402 | Tile Skirting - BOH | 37
SKT-510 | 150mm Skirting - Stainless Steel | 270
SKT-511 | 300mm Skirting - Stainless Steel | 131
SKT-515 | 150mm Skirting - Aluminium | 8
SKT-520 |  |  | 14
SKT-601 | Precast Concrete Skirting | 38
SLV | Solenoid Valve | 5
SMD | Motorised Damper | 520 | 2
SMOKE DAMPER |  |  | 26
SMS | Site Master Switch | 7
SND | Saccardo Nozzle Damper | 2
SPE | Flame Detector - Infrared | 2317 | 8
SPE/VAD |  |  | 27
SPF | Stair Pressurisation Fan | 16
SPP | Pump Control panel | 34 | 4
SRV | Server | 10
SSP | Sextuple Suction Point | 1
STA-100 SERIES |  |  | 1
STA-101 | Precast Concrete Stair | 20
STA-105 | External Stair & Ramp | 1
STA-201 | Metal Stairs with Concrete Infill | 1
STA-206 | Metal Stair Tread | 7
STA-211 | PFC Stair | 5
STF | Fire Red Strobe | 17
STR | Strainer | 129
STR-120 | Steel Column |  | 181
STR-181 | Perimeter CHS and Associated Capping and Flashing (Main Canopy) | 4
STR-182 | Rooflight Assembly with Support Structure (Main Canopy) | 191
STR-201 | Concrete Wall |  | 15
STR-301 | Concrete Floor/ Slab | 14
STR-370 | CLT Frame Panels and Roofing System | 1
STR-400 |  |  | 1
STR-420 | Steel Beam |  | 26
STR-422 | Stainless Steel Beam | 10
STR-425 | Strut | 6
STR-481 |  |  | 1
STR-501 | Concrete Bund/ Upstand | 99
STR-511 | Equilateral Angle | 208
STR-601 | Precast Skylight (Ard) | 3
STR-622 | Roofing Sump System above CLT Frame Panels and Stainless Steel Soffit Cladding | 2
STR-801 | Secondary Support Structure | 70
STR-802 | Stainless Steel Façade Support Beam (Portal) | 4
Sts | Static Transfer Switch |  | 19
STT-101 | Stairs - Bluestone - Type 01 | 30
STT-102 | Stairs - Bluestone - Type 02 | 34
STT-111 | Stairs - Granite - Type 01 | 45
STT-112 | Stairs - Granite - Type 02 | 33
STT-201 | Terrace - Bluestone - Type 01 | 5
STT-211 | Terrace - Granite - Type 01 | 166
STT-212 | Terrace - Granite - Type 02 | 1
SWT | Stormwater Tank | 1
TA |  |  | 102
TCC | Telecommunications Cabinet | 11
TCD | Tunnel Critical Distribution Board | 14
TDU | Thyristor Drainage Unit | 1
TE |  |  | 2
TEB | High Voltage Traction Earth Bar | 17
TED | Tunnel Emergency Lighting Distribution Board | 6
TEF | Toilet Exhaust Fan | 11
TEL | Tunnel Emergency Light | 2253
TEP | Pump Control panel | 19 | 4
TEV | Tempering Valve | 32
TFD | Tunnel Fan Damper | 19
TFN | Tunnel Vent Fan | 18
TGL | Tunnel General Light | 1095
TGO | Tunnel General Purpose Outlet | 686
THS | High Voltage Traction Switchboard | 7
TMV | Thermostatic Mixing Valve | 30
To be confirmed |  |  | 1512
Toc 100L |  |  | 4
Toc 45L |  |  | 2
TQF | High Voltage Traction Circuit Breaker, Feeder | 4
TQI | High Voltage Traction Circuit Breaker, Incomer | 4
TRD | Distribution Transformer | 21
TRM- |  |  | 5
TRM-120 |  |  | 16
TRM-130 | Metal Trim for Separation between Wall Systems - Same Plane Condition - Closer Fin | 2
TRM-130A | Metal Trim for Separation between Wall Systems - Obtuse Outer Junction - Profile | 6
TRM-130B | Metal Trim for Separation between Wall Systems - Perpendicular Internal Junction - Profile | 9
TRM-130C | Metal Trim for Separation between Wall Systems - Perpendicular Outer Junction - Panel | 4
TRM-130D | Metal Trim for Separation between Wall Systems - Perpendicular Outer Junction - Angle Profile | 1
TRM-131 | Metal Wall Trim | 2
TRM-150 |  |  | 1
TRM-202 | External Picture Frame Trim | 26
TRM-301 | Door Threshold Plate - Type 1 | 1
TRM-304 | Door Threshold Plate - Type 3 | 16
TRM-420 | Lift Architrave Trim - Metal | 28
TRM-461 | External Door Architrave - Mild Steel | 2
TRN | Traction Inverter Transformer | 3
TRP | Power Transformer | 9
TRX | Traction Transformer | 9
TSI | Tunnel Signage | 14
TTD | Tunnel Trackway Damper | 22
TUN | Tundish | 189
TV | Tempering Valve |  | 1
TVC | Tunnel Ventilation Control Cabinet | 8
TVI | Tunnel Ventilation I/O Panel | 10
UDB | Main UPS Distribution Board | 16
Ulm100 | Ulmus procera - English Elm | 14
Ulm200 | Ulmus procera - English Elm | 37
Ulm45 | Ulmus procera - English Elm | 4
Ulp | Ulmus procera - English Elm | 14
UPS | Uninterruptible Power Supply | 20
UPT | Earth Electrode | 28 | 4
UTX | Under Track Crossing Conduit | 3795
VAD | Fire Red Strobe | 1288 | 3
VAV | Variable Air Volume | 12
VB | Valve Box | 42
VCD | Pressure Relief Damper | 39 | 36
VCP | VicTrack Panel | 2
VES | Vesda sampling point | 724
VLC | Voltage Limiting Device Cabinet | 11
VLC VLC | Voltage Limiting Device Cabinet |  | 1
VLO | Voltage Limiting Device (Operating) | 3
VMP-000 |  |  | 793
VSD | Variable Speed Drive | 33
VTP | Vertical Transport Pump | 4
VTX | Voltage Transformer | 44
WAL-101 | Retaining Wall - Bluestone - Type 01 | 141
WAL-102 | Retaining Wall - Bluestone - Type 02 | 2
WAL-103 | Retaining Wall - Bluestone - Type 03 | 2
WAL-104 | Retaining Wall - Bluestone - Type 04 | 21
WAL-105 | Retaining Wall - Bluestone - Type 05 | 2
WAL-106 | Retaining Wall - Bluestone - Type 06 | 7
WAL-112 | Retaining Wall - Granite - Type 02 | 1
WAL-117 | Retaining Wall - Granite - Type 07 | 1
WAL-120 | Retaining Wall - Granite - Type 10 | 16
WAL-121 |  |  | 13
WAL-131 | Retaining Wall - Steel - Type 01 | 4
WAL-211 | Freestanding Wall - Granite - Type 01 | 1
WAL-213 |  |  | 1
WIN-101 | CSC - Ticket Window | 1
WIN-111 | Internal Office Window | 25
WIN-112 | PSO Window | 3
WIN-120 |  |  | 32
WIN-131 |  |  | 7
WIN-202 | External Retail Window Display Box | 1
Won | Wollemia nobilis - Wollemi Pine | 5
WPTAS221 |  |  | 107
Xaa-L | Xanthorrhoea australis - Grass tree | 12
Xaa-S | Xanthorrhoea australis - Grass tree | 7
XCD | Cross Passage Critical Distribution Board | 52
XEB | Cross Passage Earth Bar | 247
xx |  |  | 2